## Feb2013
Distribution use of system charges for a continuous load (2013/2014 charging year data)
Estimated distribution use of system charges (£/year) for a continuous load (5,000 kVA, 4,500 kW)
All the input data underpinning the results below are available from http://dcmf.co.uk/models/.
For information or assistance, please contact Franck Latrémolière <editor@dcmf.co.uk>.
Main assumptions underpinning EDCM estimates:
* Sole use assets equal to CDCM HV service model.
* All network use factors set to unity.
* Charge 1 set to zero in cases without DCP 206.
| MIN | MEDIAN | MAX | ENWL 2013 | NPG Northeast 2013 | NPG Yorkshire 2013 | SPEN SPD 2013 | SPEN SPM 2013 | SSEPD SEPD 2013 | SSEPD SHEPD 2013 | UKPN EPN 2013 | UKPN LPN 2013 | UKPN SPN 2013 | WPD EastM 2013 | WPD SWales 2013 | WPD SWest 2013 | WPD WestM 2013
HV HH Metered, CDCM as it stands | 254905.0385 | 353536.937 | 677811.803 | 363851.965 | 401386.9315 | 322565.818 | 373282.0245 | 532033.068 | 340139.0915 | 677811.803 | 254905.0385 | 268807.6985 | 343221.909 | 263819.0005 | 617637.381 | 511429.0675 | 317410.96
HV HH Metered, CDCM with DCP 123 | 252990.9705 | 415195.1475 | 806650.0545 | 436257.412 | 468880.5145 | 376740.802 | 421799.5045 | 638916.2105 | 408590.7905 | 806650.0545 | 252990.9705 | 275191.663 | 394669.2045 | 275911.349 | 710132.5 | 625709.813 | 349993.855
Category 0000 EDCM with zero charge 1 | 31713.901 | 53338.5268 | 86978.113 | 55984.8315 | 31713.901 | 31737.115 | 60595.2195 | 86978.113 | 35192.2415 | 72095.6395 | 52878.718 | 32772.2915 | 38230.9395 | 53798.3355 | 63815.724 | 58133.039 | 36639.1745
Category 1000 EDCM with zero charge 1 | 51058.901 | 81988.9462 | 169468.113 | 79162.3315 | 51058.901 | 58199.615 | 60595.2195 | 169468.113 | 79722.2415 | 72095.6395 | 79888.718 | 98472.2915 | 93345.9395 | 112928.3355 | 141195.724 | 112153.039 | 84089.1745
Category 0100 EDCM with zero charge 1 | 37517.2915 | 61939.697 | 94278.113 | 77519.8315 | 39561.401 | 39219.615 | 60595.2195 | 94278.113 | 47237.2415 | 72095.6395 | 57988.718 | 37517.2915 | 48998.4395 | 78435.8355 | 74400.724 | 66345.539 | 63284.1745
Category 1100 EDCM with zero charge 1 | 60595.2195 | 100788.253 | 182973.113 | 102339.8315 | 66753.901 | 69879.615 | 60595.2195 | 182973.113 | 92314.7415 | 72095.6395 | 84451.218 | 106137.2915 | 103200.9395 | 128623.3355 | 156525.724 | 120365.539 | 99236.6745
Category 0010 EDCM with zero charge 1 | 50839.7915 | 78249.7767 | 145013.113 | 87374.8315 | 66936.401 | 68237.115 | 125930.2195 | 145013.113 | 63297.2415 | 133233.1395 | 78246.218 | 50839.7915 | 76920.9395 | 78253.3355 | 97760.724 | 81858.039 | 61094.1745
Category 0110 EDCM with zero charge 1 | 55219.7915 | 88605.7392 | 152495.613 | 110369.8315 | 77703.901 | 76632.115 | 125930.2195 | 152495.613 | 75524.7415 | 133233.1395 | 82991.218 | 55219.7915 | 87323.4395 | 93218.3355 | 108710.724 | 89888.039 | 75694.1745
Category 1110 EDCM with zero charge 1 | 104896.401 | 129581.6795 | 241920.613 | 135372.3315 | 104896.401 | 107474.615 | 125930.2195 | 241920.613 | 120784.7415 | 133233.1395 | 109453.718 | 124022.2915 | 141708.4395 | 143405.8355 | 191565.724 | 144820.539 | 111829.1745
Category 0001 EDCM with zero charge 1 | 35410.2195 | 60250.8785 | 103620.8355 | 77884.8315 | 39743.901 | 39402.115 | 35410.2195 | 87708.113 | 47602.2415 | 73555.6395 | 61821.218 | 43722.2915 | 54838.4395 | 103620.8355 | 86810.724 | 58680.539 | 67116.6745
Category 1001 EDCM with zero charge 1 | 35410.2195 | 103434.503 | 177680.613 | 103069.8315 | 67118.901 | 70427.115 | 35410.2195 | 177680.613 | 93227.2415 | 73555.6395 | 89561.218 | 113072.2915 | 111960.9395 | 154903.3355 | 170395.724 | 113978.039 | 103799.1745
Category 0101 EDCM with zero charge 1 | 35410.2195 | 82797.6402 | 152213.1395 | 123509.8315 | 52883.901 | 51629.615 | 35410.2195 | 105410.613 | 77167.2415 | 152213.1395 | 63646.218 | 42809.7915 | 57393.4395 | 111833.3355 | 101593.224 | 88428.039 | 98141.6745
Category 1101 EDCM with zero charge 1 | 35410.2195 | 128899.458 | 195383.113 | 148694.8315 | 80258.901 | 82654.615 | 35410.2195 | 195383.113 | 122792.2415 | 152213.1395 | 91568.718 | 112159.7915 | 114515.9395 | 163298.3355 | 185178.224 | 143725.539 | 135006.6745
Category 0011 EDCM with zero charge 1 | 56679.7915 | 103049.72 | 220650.6395 | 136832.3315 | 100698.901 | 96707.115 | 158232.7195 | 176220.613 | 94869.7415 | 220650.6395 | 85911.218 | 56679.7915 | 88783.4395 | 112563.3355 | 129880.724 | 105400.539 | 96134.1745
Category 0111 EDCM with zero charge 1 | 61242.2915 | 112630.97 | 220650.6395 | 160009.8315 | 111648.901 | 105284.615 | 158232.7195 | 183703.113 | 107097.2415 | 220650.6395 | 90838.718 | 61242.2915 | 99733.4395 | 128075.8355 | 140830.724 | 113613.039 | 111099.1745
Category 1111 EDCM with zero charge 1 | 118761.218 | 157453.0795 | 273675.613 | 185194.8315 | 139023.901 | 136309.615 | 158232.7195 | 273675.613 | 152904.7415 | 220650.6395 | 118761.218 | 130592.2915 | 156673.4395 | 179358.3355 | 224415.724 | 168910.539 | 147781.6745
Category 0002 EDCM with zero charge 1 | 38429.7915 | 79986.6292 | 152213.1395 | 100514.8315 | 41933.901 | 43052.115 | 79757.7195 | 97928.113 | 64757.2415 | 152213.1395 | 58718.718 | 38429.7915 | 46625.9395 | 96320.8355 | 90643.224 | 80215.539 | 83359.1745
Category 0000 EDCM with DCP 206 | 33173.901 | 55619.7768 | 90810.613 | 60729.8315 | 33173.901 | 33197.115 | 61507.7195 | 90810.613 | 36834.7415 | 73008.1395 | 56346.218 | 33319.7915 | 40055.9395 | 54893.3355 | 66188.224 | 62148.039 | 40836.6745
Category 1000 EDCM with DCP 206 | 55803.901 | 97410.1962 | 186440.613 | 91937.3315 | 55803.901 | 63492.115 | 61507.7195 | 186440.613 | 87569.7415 | 73008.1395 | 95583.718 | 118912.2915 | 111230.9395 | 117490.8355 | 152875.724 | 128760.539 | 99236.6745
Category 0100 EDCM with DCP 206 | 39524.7915 | 67845.1962 | 99205.613 | 89747.3315 | 42298.901 | 41774.615 | 61507.7195 | 99205.613 | 50704.7415 | 73008.1395 | 63646.218 | 39524.7915 | 53925.9395 | 80625.8355 | 77868.224 | 72185.539 | 72044.1745
Category 1100 EDCM with DCP 206 | 61507.7195 | 121045.753 | 201953.113 | 123144.8315 | 74053.901 | 76997.115 | 61507.7195 | 201953.113 | 101804.7415 | 73008.1395 | 101971.218 | 128584.7915 | 124005.9395 | 134280.8355 | 170030.724 | 138980.539 | 118946.6745
Category 0010 EDCM with DCP 206 | 56679.7915 | 90613.2392 | 157970.613 | 103069.8315 | 74236.401 | 74989.615 | 136515.2195 | 157970.613 | 68772.2415 | 139438.1395 | 92846.218 | 56679.7915 | 90060.9395 | 80260.8355 | 104148.224 | 91165.539 | 69124.1745
Category 0110 EDCM with DCP 206 | 62519.7915 | 100583.3785 | 166730.613 | 134277.3315 | 86828.901 | 84844.615 | 136515.2195 | 166730.613 | 82642.2415 | 139438.1395 | 99781.218 | 62519.7915 | 103383.4395 | 96503.3355 | 116193.224 | 101385.539 | 88104.1745
Category 1110 EDCM with DCP 206 | 118583.901 | 144798.2375 | 270025.613 | 167857.3315 | 118583.901 | 120249.615 | 136515.2195 | 270025.613 | 134289.7415 | 139438.1395 | 138288.718 | 151944.7915 | 173828.4395 | 150158.3355 | 209268.224 | 168910.539 | 135371.6745
Category 0001 EDCM with DCP 206 | 36322.7195 | 65543.3785 | 107453.3355 | 90294.8315 | 42481.401 | 41957.115 | 36322.7195 | 91358.113 | 50887.2415 | 74285.6395 | 68391.218 | 47372.2915 | 61408.4395 | 107453.3355 | 91555.724 | 62695.539 | 76789.1745
Category 1001 EDCM with DCP 206 | 36322.7195 | 124513.253 | 195748.113 | 124239.8315 | 74418.901 | 77544.615 | 36322.7195 | 195748.113 | 103082.2415 | 74285.6395 | 108906.218 | 137527.2915 | 135138.4395 | 162568.3355 | 185360.724 | 130950.539 | 124786.6745
Category 0101 EDCM with DCP 206 | 36322.7195 | 91922.6402 | 159878.1395 | 151797.3315 | 57811.401 | 56009.615 | 36322.7195 | 111980.613 | 84467.2415 | 159878.1395 | 71311.218 | 46459.7915 | 64693.4395 | 116395.8355 | 108345.724 | 99378.039 | 117486.6745
Category 1101 EDCM with DCP 206 | 36322.7195 | 149059.5395 | 216370.613 | 185742.3315 | 89748.901 | 91597.115 | 36322.7195 | 216370.613 | 136479.7415 | 159878.1395 | 111643.718 | 136432.2915 | 138240.9395 | 171328.3355 | 201968.224 | 167633.039 | 165666.6745
Category 0011 EDCM with DCP 206 | 64344.7915 | 115937.505 | 234520.6395 | 169864.8315 | 113656.401 | 107657.115 | 173927.7195 | 193923.113 | 104907.2415 | 234520.6395 | 103431.218 | 64344.7915 | 105208.4395 | 117125.8355 | 140100.724 | 120365.539 | 114749.1745
Category 0111 EDCM with DCP 206 | 70184.7915 | 132068.1872 | 234520.6395 | 201072.3315 | 126431.401 | 117512.115 | 173927.7195 | 202683.113 | 118777.2415 | 234520.6395 | 110731.218 | 70184.7915 | 119260.9395 | 133733.3355 | 152328.224 | 130403.039 | 134276.6745
Category 1111 EDCM with DCP 206 | 151246.218 | 185561.255 | 306890.613 | 235017.3315 | 158368.901 | 153282.115 | 173927.7195 | 306890.613 | 170789.7415 | 234520.6395 | 151246.218 | 160339.7915 | 192990.9395 | 188665.8355 | 245950.724 | 198840.539 | 182456.6745
Category 0002 EDCM with DCP 206 | 40619.7915 | 86374.1292 | 159878.1395 | 120589.8315 | 45036.401 | 46154.615 | 83590.2195 | 103220.613 | 70597.2415 | 159878.1395 | 64011.218 | 40619.7915 | 50640.9395 | 99788.3355 | 96118.224 | 89158.039 | 97959.1745
Impact of DCP 123 revenue matching methodology proposed change
The reference point for this table is the HV HH Metered tariff in the CDCM as it stands.
| MIN | MEDIAN | MAX | ENWL 2013 | NPG Northeast 2013 | NPG Yorkshire 2013 | SPEN SPD 2013 | SPEN SPM 2013 | SSEPD SEPD 2013 | SSEPD SHEPD 2013 | UKPN EPN 2013 | UKPN LPN 2013 | UKPN SPN 2013 | WPD EastM 2013 | WPD SWales 2013 | WPD SWest 2013 | WPD WestM 2013
HV HH Metered, CDCM as it stands | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
HV HH Metered, CDCM with DCP 123 | -0.7509% | 15.89% | 22.35% | 19.9% | 16.82% | 16.8% | 13% | 20.09% | 20.12% | 19.01% | -0.7509% | 2.375% | 14.99% | 4.584% | 14.98% | 22.35% | 10.27%
Boundary gap: differences between EDCM HV tariffs and CDCM HV tariffs
The reference point for this table is the HV HH Metered tariff in the CDCM as it stands.
| MIN | MEDIAN | MAX | ENWL 2013 | NPG Northeast 2013 | NPG Yorkshire 2013 | SPEN SPD 2013 | SPEN SPM 2013 | SSEPD SEPD 2013 | SSEPD SHEPD 2013 | UKPN EPN 2013 | UKPN LPN 2013 | UKPN SPN 2013 | WPD EastM 2013 | WPD SWales 2013 | WPD SWest 2013 | WPD WestM 2013
Category 0001 EDCM with zero charge 1 | -90.51% | -84.98% | -60.72% | -78.59% | -90.1% | -87.78% | -90.51% | -83.51% | -86.01% | -89.15% | -75.75% | -83.73% | -84.02% | -60.72% | -85.94% | -88.53% | -78.85%
Category 1001 EDCM with zero charge 1 | -90.51% | -72.04% | -41.28% | -71.67% | -83.28% | -78.17% | -90.51% | -66.6% | -72.59% | -89.15% | -64.86% | -57.94% | -67.38% | -41.28% | -72.41% | -77.71% | -67.3%
Category 0101 EDCM with zero charge 1 | -90.51% | -81.45% | -57.61% | -66.05% | -86.82% | -83.99% | -90.51% | -80.19% | -77.31% | -77.54% | -75.03% | -84.07% | -83.28% | -57.61% | -83.55% | -82.71% | -69.08%
Category 1101 EDCM with zero charge 1 | -90.51% | -65.36% | -38.1% | -59.13% | -80% | -74.38% | -90.51% | -63.28% | -63.9% | -77.54% | -64.08% | -58.28% | -66.64% | -38.1% | -70.02% | -71.9% | -57.47%
Category 0011 EDCM with zero charge 1 | -79.39% | -69.87% | -57.33% | -62.39% | -74.91% | -70.02% | -57.61% | -66.88% | -72.11% | -67.45% | -66.3% | -78.91% | -74.13% | -57.33% | -78.97% | -79.39% | -69.71%
Category 0111 EDCM with zero charge 1 | -77.79% | -67.4% | -51.45% | -56.02% | -72.18% | -67.36% | -57.61% | -65.47% | -68.51% | -67.45% | -64.36% | -77.22% | -70.94% | -51.45% | -77.2% | -77.79% | -65%
Category 1111 EDCM with zero charge 1 | -67.45% | -54.7% | -32.01% | -49.1% | -65.36% | -57.74% | -57.61% | -48.56% | -55.05% | -67.45% | -53.41% | -51.42% | -54.35% | -32.01% | -63.67% | -66.97% | -53.44%
Category 0002 EDCM with zero charge 1 | -89.55% | -81.28% | -63.49% | -72.37% | -89.55% | -86.65% | -78.63% | -81.59% | -80.96% | -77.54% | -76.96% | -85.7% | -86.42% | -63.49% | -85.32% | -84.32% | -73.74%
Category 0001 EDCM with DCP 206 | -90.27% | -83.93% | -59.27% | -75.18% | -89.42% | -86.99% | -90.27% | -82.83% | -85.04% | -89.04% | -73.17% | -82.38% | -82.11% | -59.27% | -85.18% | -87.74% | -75.81%
Category 1001 EDCM with DCP 206 | -90.27% | -67.77% | -38.38% | -65.85% | -81.46% | -75.96% | -90.27% | -63.21% | -69.69% | -89.04% | -57.28% | -48.84% | -60.63% | -38.38% | -69.99% | -74.4% | -60.69%
Category 0101 EDCM with DCP 206 | -90.27% | -79.76% | -55.88% | -58.28% | -85.6% | -82.64% | -90.27% | -78.95% | -75.17% | -76.41% | -72.02% | -82.72% | -81.15% | -55.88% | -82.46% | -80.57% | -62.99%
Category 1101 EDCM with DCP 206 | -90.27% | -59.8% | -35.06% | -48.95% | -77.64% | -71.6% | -90.27% | -59.33% | -59.88% | -76.41% | -56.2% | -49.25% | -59.72% | -35.06% | -67.3% | -67.22% | -47.81%
Category 0011 EDCM with DCP 206 | -77.32% | -66.01% | -53.31% | -53.31% | -71.68% | -66.62% | -53.41% | -63.55% | -69.16% | -65.4% | -59.42% | -76.06% | -69.35% | -55.6% | -77.32% | -76.46% | -63.85%
Category 0111 EDCM with DCP 206 | -75.34% | -64.32% | -44.74% | -44.74% | -68.5% | -63.57% | -53.41% | -61.9% | -65.08% | -65.4% | -56.56% | -73.89% | -65.25% | -49.31% | -75.34% | -74.5% | -57.7%
Category 1111 EDCM with DCP 206 | -65.4% | -46.78% | -28.49% | -35.41% | -60.54% | -52.48% | -53.41% | -42.32% | -49.79% | -65.4% | -40.67% | -40.35% | -43.77% | -28.49% | -60.18% | -61.12% | -42.52%
Category 0002 EDCM with DCP 206 | -88.78% | -79.92% | -62.18% | -66.86% | -88.78% | -85.69% | -77.61% | -80.6% | -79.24% | -76.41% | -74.89% | -84.89% | -85.25% | -62.18% | -84.44% | -82.57% | -69.14%
MIN | -90.51% |  |  | -78.59% | -90.1% | -87.78% | -90.51% | -83.51% | -86.01% | -89.15% | -76.96% | -85.7% | -86.42% | -63.49% | -85.94% | -88.53% | -78.85%
MEDIAN |  | -70.48% |  | -60.76% | -80.73% | -75.17% | -84.45% | -66.04% | -70.9% | -76.41% | -64.61% | -76.64% | -70.14% | -53.53% | -77.26% | -77.75% | -64.42%
MAX |  |  | -28.49% | -35.41% | -60.54% | -52.48% | -53.41% | -42.32% | -49.79% | -65.4% | -40.67% | -40.35% | -43.77% | -28.49% | -60.18% | -61.12% | -42.52%
How much charge 1 would be needed to bring EDCM HV tariffs to par with the CDCM HV tariff
Figures in £/kVA/year.
| MIN | MEDIAN | MAX | ENWL 2013 | NPG Northeast 2013 | NPG Yorkshire 2013 | SPEN SPD 2013 | SPEN SPM 2013 | SSEPD SEPD 2013 | SSEPD SHEPD 2013 | UKPN EPN 2013 | UKPN LPN 2013 | UKPN SPN 2013 | WPD EastM 2013 | WPD SWales 2013 | WPD SWest 2013 | WPD WestM 2013
Par £/kVA/year for category 0001 | 32.0396 | 58.092 | 120.8512 | 57.1934 | 72.3286 | 56.6327 | 67.5744 | 88.865 | 58.5074 | 120.8512 | 38.6168 | 45.0171 | 57.6767 | 32.0396 | 106.1653 | 90.5497 | 50.0589
Par £/kVA/year for category 1001 | 21.7831 | 51.2921 | 120.8512 | 52.1564 | 66.8536 | 50.4277 | 67.5744 | 70.8705 | 49.3824 | 120.8512 | 33.0688 | 31.1471 | 46.2522 | 21.7831 | 89.4483 | 79.4902 | 42.7224
Par £/kVA/year for category 0101 | 30.3971 | 55.6765 | 105.1197 | 48.0684 | 69.7006 | 54.1872 | 67.5744 | 85.3245 | 52.5944 | 105.1197 | 38.2518 | 45.1996 | 57.1657 | 30.3971 | 103.2088 | 84.6002 | 43.8539
Par £/kVA/year for category 1101 | 20.1041 | 46.8617 | 105.1197 | 43.0314 | 64.2256 | 47.9822 | 67.5744 | 67.33 | 43.4694 | 105.1197 | 32.6673 | 31.3296 | 45.7412 | 20.1041 | 86.4918 | 73.5407 | 36.4809
Par £/kVA/year for category 0011 | 30.2511 | 47.2289 | 97.5513 | 45.4039 | 60.1376 | 45.1717 | 43.0099 | 71.1625 | 49.0539 | 91.4322 | 33.7988 | 42.4256 | 50.8877 | 30.2511 | 97.5513 | 81.2057 | 44.2554
Par £/kVA/year for category 0111 | 27.1486 | 45.0323 | 95.3613 | 40.7684 | 57.9476 | 43.4562 | 43.0099 | 69.666 | 46.6084 | 91.4322 | 32.8133 | 41.5131 | 48.6977 | 27.1486 | 95.3613 | 79.5632 | 41.2624
Par £/kVA/year for category 1111 | 16.8921 | 37.3783 | 91.4322 | 35.7314 | 52.4726 | 37.2512 | 43.0099 | 51.6715 | 37.4469 | 91.4322 | 27.2288 | 27.6431 | 37.3097 | 16.8921 | 78.6443 | 68.5037 | 33.9259
Par £/kVA/year for category 0002 | 33.4996 | 57.3038 | 105.3988 | 52.6674 | 71.8906 | 55.9027 | 58.7049 | 86.821 | 55.0764 | 105.1197 | 39.2373 | 46.0756 | 59.3192 | 33.4996 | 105.3988 | 86.2427 | 46.8104
MIN | 16.8921 |  |  | 35.7314 | 52.4726 | 37.2512 | 43.0099 | 51.6715 | 37.4469 | 91.4322 | 27.2288 | 27.6431 | 37.3097 | 16.8921 | 78.6443 | 68.5037 | 33.9259
MEDIAN |  | 51.914 |  | 46.7362 | 65.5396 | 49.205 | 63.1396 | 71.0165 | 49.2181 | 105.1197 | 33.4338 | 41.9693 | 49.7927 | 28.6999 | 96.4563 | 80.3845 | 43.2881
MAX |  |  | 120.8512 | 57.1934 | 72.3286 | 56.6327 | 67.5744 | 88.865 | 58.5074 | 120.8512 | 39.2373 | 46.0756 | 59.3192 | 33.4996 | 106.1653 | 90.5497 | 50.0589
Impact of DCP 206 in cases where charge 1 is zero
The reference point for this table is the relevant pre-DCP 206 charge at a location with zero charge 1.
| MIN | MEDIAN | MAX | ENWL 2013 | NPG Northeast 2013 | NPG Yorkshire 2013 | SPEN SPD 2013 | SPEN SPM 2013 | SSEPD SEPD 2013 | SSEPD SHEPD 2013 | UKPN EPN 2013 | UKPN LPN 2013 | UKPN SPN 2013 | WPD EastM 2013 | WPD SWales 2013 | WPD SWest 2013 | WPD WestM 2013
Category 0000 EDCM with DCP 206 | 1.266% | 4.602% | 11.46% | 8.476% | 4.604% | 4.6% | 1.506% | 4.406% | 4.667% | 1.266% | 6.557% | 1.671% | 4.774% | 2.035% | 3.718% | 6.907% | 11.46%
Category 1000 EDCM with DCP 206 | 1.266% | 9.929% | 20.76% | 16.14% | 9.293% | 9.094% | 1.506% | 10.02% | 9.844% | 1.266% | 19.65% | 20.76% | 19.16% | 4.04% | 8.272% | 14.81% | 18.01%
Category 0100 EDCM with DCP 206 | 1.266% | 6.717% | 15.77% | 15.77% | 6.92% | 6.515% | 1.506% | 5.227% | 7.341% | 1.266% | 9.756% | 5.351% | 10.06% | 2.792% | 4.661% | 8.802% | 13.84%
Category 1100 EDCM with DCP 206 | 1.266% | 10.65% | 21.15% | 20.33% | 10.94% | 10.19% | 1.506% | 10.37% | 10.28% | 1.266% | 20.75% | 21.15% | 20.16% | 4.399% | 8.628% | 15.47% | 19.86%
Category 0010 EDCM with DCP 206 | 2.565% | 10.4% | 18.66% | 17.96% | 10.91% | 9.896% | 8.405% | 8.935% | 8.65% | 4.657% | 18.66% | 11.49% | 17.08% | 2.565% | 6.534% | 11.37% | 13.14%
Category 0110 EDCM with DCP 206 | 3.524% | 11.23% | 21.66% | 21.66% | 11.74% | 10.72% | 8.405% | 9.335% | 9.424% | 4.657% | 20.23% | 13.22% | 18.39% | 3.524% | 6.883% | 12.79% | 16.39%
Category 1110 EDCM with DCP 206 | 4.657% | 12.47% | 26.34% | 24% | 13.05% | 11.89% | 8.405% | 11.62% | 11.18% | 4.657% | 26.34% | 22.51% | 22.67% | 4.709% | 9.241% | 16.63% | 21.05%
Category 0001 EDCM with DCP 206 | 0.9924% | 6.865% | 15.93% | 15.93% | 6.888% | 6.484% | 2.577% | 4.162% | 6.901% | 0.9924% | 10.63% | 8.348% | 11.98% | 3.699% | 5.466% | 6.842% | 14.41%
Category 1001 EDCM with DCP 206 | 0.9924% | 10.72% | 21.63% | 20.54% | 10.88% | 10.11% | 2.577% | 10.17% | 10.57% | 0.9924% | 21.6% | 21.63% | 20.7% | 4.948% | 8.782% | 14.89% | 20.22%
Category 0101 EDCM with DCP 206 | 2.577% | 8.922% | 22.9% | 22.9% | 9.318% | 8.484% | 2.577% | 6.233% | 9.46% | 5.036% | 12.04% | 8.526% | 12.72% | 4.08% | 6.647% | 12.38% | 19.71%
Category 1101 EDCM with DCP 206 | 2.577% | 11.49% | 24.92% | 24.92% | 11.82% | 10.82% | 2.577% | 10.74% | 11.15% | 5.036% | 21.92% | 21.64% | 20.72% | 4.917% | 9.067% | 16.63% | 22.71%
Category 0011 EDCM with DCP 206 | 4.053% | 12.1% | 24.14% | 24.14% | 12.87% | 11.32% | 9.919% | 10.05% | 10.58% | 6.286% | 20.39% | 13.52% | 18.5% | 4.053% | 7.869% | 14.2% | 19.36%
Category 0111 EDCM with DCP 206 | 4.417% | 12.43% | 25.66% | 25.66% | 13.24% | 11.61% | 9.919% | 10.33% | 10.91% | 6.286% | 21.9% | 14.6% | 19.58% | 4.417% | 8.164% | 14.78% | 20.86%
Category 1111 EDCM with DCP 206 | 5.189% | 13.18% | 27.35% | 26.9% | 13.91% | 12.45% | 9.919% | 12.14% | 11.7% | 6.286% | 27.35% | 22.78% | 23.18% | 5.189% | 9.596% | 17.72% | 23.46%
Category 0002 EDCM with DCP 206 | 3.6% | 7.302% | 19.97% | 19.97% | 7.399% | 7.206% | 4.805% | 5.404% | 9.018% | 5.036% | 9.013% | 5.699% | 8.611% | 3.6% | 6.04% | 11.15% | 17.51%
MIN | 0.9924% |  |  | 8.476% | 4.604% | 4.6% | 1.506% | 4.162% | 4.667% | 0.9924% | 6.557% | 1.671% | 4.774% | 2.035% | 3.718% | 6.842% | 11.46%
MEDIAN |  | 10.08% |  | 20.54% | 10.91% | 10.11% | 2.577% | 10.02% | 9.844% | 4.657% | 20.23% | 13.52% | 18.5% | 4.053% | 7.869% | 14.2% | 19.36%
MAX |  |  | 27.35% | 26.9% | 13.91% | 12.45% | 9.919% | 12.14% | 11.7% | 6.286% | 27.35% | 22.78% | 23.18% | 5.189% | 9.596% | 17.72% | 23.46%
Break-even level of charge 1 for DCP 206
Figures in £/kVA/year.
| MIN | MEDIAN | MAX | ENWL 2013 | NPG Northeast 2013 | NPG Yorkshire 2013 | SPEN SPD 2013 | SPEN SPM 2013 | SSEPD SEPD 2013 | SSEPD SHEPD 2013 | UKPN EPN 2013 | UKPN LPN 2013 | UKPN SPN 2013 | WPD EastM 2013 | WPD SWales 2013 | WPD SWest 2013 | WPD WestM 2013
Category 0000 EDCM with DCP 206 | 0.1095 | 0.34675 | 0.949 | 0.949 | 0.292 | 0.292 | 0.1825 | 0.7665 | 0.3285 | 0.1825 | 0.6935 | 0.1095 | 0.365 | 0.219 | 0.4745 | 0.803 | 0.8395
Category 1000 EDCM with DCP 206 | 0.1825 | 2.4455 | 4.088 | 2.555 | 0.949 | 1.0585 | 0.1825 | 3.3945 | 1.5695 | 0.1825 | 3.139 | 4.088 | 3.577 | 0.9125 | 2.336 | 3.3215 | 3.0295
Category 0100 EDCM with DCP 206 | 0.1825 | 0.6935 | 2.4455 | 2.4455 | 0.5475 | 0.511 | 0.1825 | 0.9855 | 0.6935 | 0.1825 | 1.1315 | 0.4015 | 0.9855 | 0.438 | 0.6935 | 1.168 | 1.752
Category 1100 EDCM with DCP 206 | 0.1825 | 3.1025 | 4.4895 | 4.161 | 1.46 | 1.4235 | 0.1825 | 3.796 | 1.898 | 0.1825 | 3.504 | 4.4895 | 4.161 | 1.1315 | 2.701 | 3.723 | 3.942
Category 0010 EDCM with DCP 206 | 0.4015 | 1.533 | 3.139 | 3.139 | 1.46 | 1.3505 | 2.117 | 2.5915 | 1.095 | 1.241 | 2.92 | 1.168 | 2.628 | 0.4015 | 1.2775 | 1.8615 | 1.606
Category 0110 EDCM with DCP 206 | 0.657 | 1.971 | 4.7815 | 4.7815 | 1.825 | 1.6425 | 2.117 | 2.847 | 1.4235 | 1.241 | 3.358 | 1.46 | 3.212 | 0.657 | 1.4965 | 2.2995 | 2.482
Category 1110 EDCM with DCP 206 | 1.241 | 4.1245 | 6.497 | 6.497 | 2.7375 | 2.555 | 2.117 | 5.621 | 2.701 | 1.241 | 5.767 | 5.5845 | 6.424 | 1.3505 | 3.5405 | 4.818 | 4.7085
Category 0001 EDCM with DCP 206 | 0.146 | 0.74825 | 2.482 | 2.482 | 0.5475 | 0.511 | 0.1825 | 0.73 | 0.657 | 0.146 | 1.314 | 0.73 | 1.314 | 0.7665 | 0.949 | 0.803 | 1.9345
Category 1001 EDCM with DCP 206 | 0.146 | 3.1937 | 4.891 | 4.234 | 1.46 | 1.4235 | 0.1825 | 3.6135 | 1.971 | 0.146 | 3.869 | 4.891 | 4.6355 | 1.533 | 2.993 | 3.3945 | 4.1975
Category 0101 EDCM with DCP 206 | 0.1825 | 1.4053 | 5.6575 | 5.6575 | 0.9855 | 0.876 | 0.1825 | 1.314 | 1.46 | 1.533 | 1.533 | 0.73 | 1.46 | 0.9125 | 1.3505 | 2.19 | 3.869
Category 1101 EDCM with DCP 206 | 0.1825 | 3.6865 | 7.4095 | 7.4095 | 1.898 | 1.7885 | 0.1825 | 4.1975 | 2.7375 | 1.533 | 4.015 | 4.8545 | 4.745 | 1.606 | 3.358 | 4.7815 | 6.132
Category 0011 EDCM with DCP 206 | 0.9125 | 2.8835 | 6.6065 | 6.6065 | 2.5915 | 2.19 | 3.139 | 3.5405 | 2.0075 | 2.774 | 3.504 | 1.533 | 3.285 | 0.9125 | 2.044 | 2.993 | 3.723
Category 0111 EDCM with DCP 206 | 1.1315 | 3.0477 | 8.2125 | 8.2125 | 2.9565 | 2.4455 | 3.139 | 3.796 | 2.336 | 2.774 | 3.9785 | 1.7885 | 3.9055 | 1.1315 | 2.2995 | 3.358 | 4.6355
Category 1111 EDCM with DCP 206 | 1.8615 | 5.1282 | 9.9645 | 9.9645 | 3.869 | 3.3945 | 3.139 | 6.643 | 3.577 | 2.774 | 6.497 | 5.9495 | 7.2635 | 1.8615 | 4.307 | 5.986 | 6.935
Category 0002 EDCM with DCP 206 | 0.438 | 1.0585 | 4.015 | 4.015 | 0.6205 | 0.6205 | 0.7665 | 1.0585 | 1.168 | 1.533 | 1.0585 | 0.438 | 0.803 | 0.6935 | 1.095 | 1.7885 | 2.92
MIN | 0.1095 |  |  | 0.949 | 0.292 | 0.292 | 0.1825 | 0.73 | 0.3285 | 0.146 | 0.6935 | 0.1095 | 0.365 | 0.219 | 0.4745 | 0.803 | 0.8395
MEDIAN |  | 1.8798 |  | 4.234 | 1.46 | 1.4235 | 0.1825 | 3.3945 | 1.5695 | 1.241 | 3.358 | 1.533 | 3.285 | 0.9125 | 2.044 | 2.993 | 3.723
MAX |  |  | 9.9645 | 9.9645 | 3.869 | 3.3945 | 3.139 | 6.643 | 3.577 | 2.774 | 6.497 | 5.9495 | 7.2635 | 1.8615 | 4.307 | 5.986 | 6.935