## Feb2013
| MIN (first 14 columns) | MEDIAN (first 14 columns) | MAX (first 14 columns) | With DCP 206: ENWL | With DCP 206: NPG Northeast | With DCP 206: NPG Yorkshire | With DCP 206: SPEN SPD | With DCP 206: SPEN SPM | With DCP 206: SSEPD SEPD | With DCP 206: SSEPD SHEPD | With DCP 206: UKPN EPN | With DCP 206: UKPN LPN | With DCP 206: UKPN SPN | With DCP 206: WPD EastM | With DCP 206: WPD SWales | With DCP 206: WPD SWest | With DCP 206: WPD WestM | Without DCP 206: ENWL | Without DCP 206: NPG Northeast | Without DCP 206: NPG Yorkshire | Without DCP 206: SPEN SPD | Without DCP 206: SPEN SPM | Without DCP 206: SSEPD SEPD | Without DCP 206: SSEPD SHEPD | Without DCP 206: UKPN EPN | Without DCP 206: UKPN LPN | Without DCP 206: UKPN SPN | Without DCP 206: WPD EastM | Without DCP 206: WPD SWales | Without DCP 206: WPD SWest | Without DCP 206: WPD WestM
Category 0000 Continuous demand | 33173.901 | 55619.7768 | 90810.613 | 60729.8315 | 33173.901 | 33197.115 | 61507.7195 | 90810.613 | 36834.7415 | 73008.1395 | 56346.218 | 33319.7915 | 40055.9395 | 54893.3355 | 66188.224 | 62148.039 | 40836.6745 | 55984.8315 | 31713.901 | 31737.115 | 60595.2195 | 86978.113 | 35192.2415 | 72095.6395 | 52878.718 | 32772.2915 | 38230.9395 | 53798.3355 | 63815.724 | 58133.039 | 36639.1745
Category 1000 Continuous demand | 55803.901 | 97410.1962 | 186440.613 | 91937.3315 | 55803.901 | 63492.115 | 61507.7195 | 186440.613 | 87569.7415 | 73008.1395 | 95583.718 | 118912.2915 | 111230.9395 | 117490.8355 | 152875.724 | 128760.539 | 99236.6745 | 79162.3315 | 51058.901 | 58199.615 | 60595.2195 | 169468.113 | 79722.2415 | 72095.6395 | 79888.718 | 98472.2915 | 93345.9395 | 112928.3355 | 141195.724 | 112153.039 | 84089.1745
Category 0100 Continuous demand | 39524.7915 | 67845.1962 | 99205.613 | 89747.3315 | 42298.901 | 41774.615 | 61507.7195 | 99205.613 | 50704.7415 | 73008.1395 | 63646.218 | 39524.7915 | 53925.9395 | 80625.8355 | 77868.224 | 72185.539 | 72044.1745 | 77519.8315 | 39561.401 | 39219.615 | 60595.2195 | 94278.113 | 47237.2415 | 72095.6395 | 57988.718 | 37517.2915 | 48998.4395 | 78435.8355 | 74400.724 | 66345.539 | 63284.1745
Category 1100 Continuous demand | 61507.7195 | 121045.753 | 201953.113 | 123144.8315 | 74053.901 | 76997.115 | 61507.7195 | 201953.113 | 101804.7415 | 73008.1395 | 101971.218 | 128584.7915 | 124005.9395 | 134280.8355 | 170030.724 | 138980.539 | 118946.6745 | 102339.8315 | 66753.901 | 69879.615 | 60595.2195 | 182973.113 | 92314.7415 | 72095.6395 | 84451.218 | 106137.2915 | 103200.9395 | 128623.3355 | 156525.724 | 120365.539 | 99236.6745
Category 0010 Continuous demand | 56679.7915 | 90613.2392 | 157970.613 | 103069.8315 | 74236.401 | 74989.615 | 136515.2195 | 157970.613 | 68772.2415 | 139438.1395 | 92846.218 | 56679.7915 | 90060.9395 | 80260.8355 | 104148.224 | 91165.539 | 69124.1745 | 87374.8315 | 66936.401 | 68237.115 | 125930.2195 | 145013.113 | 63297.2415 | 133233.1395 | 78246.218 | 50839.7915 | 76920.9395 | 78253.3355 | 97760.724 | 81858.039 | 61094.1745
Category 0110 Continuous demand | 62519.7915 | 100583.3785 | 166730.613 | 134277.3315 | 86828.901 | 84844.615 | 136515.2195 | 166730.613 | 82642.2415 | 139438.1395 | 99781.218 | 62519.7915 | 103383.4395 | 96503.3355 | 116193.224 | 101385.539 | 88104.1745 | 110369.8315 | 77703.901 | 76632.115 | 125930.2195 | 152495.613 | 75524.7415 | 133233.1395 | 82991.218 | 55219.7915 | 87323.4395 | 93218.3355 | 108710.724 | 89888.039 | 75694.1745
Category 1110 Continuous demand | 118583.901 | 144798.2375 | 270025.613 | 167857.3315 | 118583.901 | 120249.615 | 136515.2195 | 270025.613 | 134289.7415 | 139438.1395 | 138288.718 | 151944.7915 | 173828.4395 | 150158.3355 | 209268.224 | 168910.539 | 135371.6745 | 135372.3315 | 104896.401 | 107474.615 | 125930.2195 | 241920.613 | 120784.7415 | 133233.1395 | 109453.718 | 124022.2915 | 141708.4395 | 143405.8355 | 191565.724 | 144820.539 | 111829.1745
Category 0001 Continuous demand | 36322.7195 | 65543.3785 | 107453.3355 | 90294.8315 | 42481.401 | 41957.115 | 36322.7195 | 91358.113 | 50887.2415 | 74285.6395 | 68391.218 | 47372.2915 | 61408.4395 | 107453.3355 | 91555.724 | 62695.539 | 76789.1745 | 77884.8315 | 39743.901 | 39402.115 | 35410.2195 | 87708.113 | 47602.2415 | 73555.6395 | 61821.218 | 43722.2915 | 54838.4395 | 103620.8355 | 86810.724 | 58680.539 | 67116.6745
Category 1001 Continuous demand | 36322.7195 | 124513.253 | 195748.113 | 124239.8315 | 74418.901 | 77544.615 | 36322.7195 | 195748.113 | 103082.2415 | 74285.6395 | 108906.218 | 137527.2915 | 135138.4395 | 162568.3355 | 185360.724 | 130950.539 | 124786.6745 | 103069.8315 | 67118.901 | 70427.115 | 35410.2195 | 177680.613 | 93227.2415 | 73555.6395 | 89561.218 | 113072.2915 | 111960.9395 | 154903.3355 | 170395.724 | 113978.039 | 103799.1745
Category 0101 Continuous demand | 36322.7195 | 91922.6402 | 159878.1395 | 151797.3315 | 57811.401 | 56009.615 | 36322.7195 | 111980.613 | 84467.2415 | 159878.1395 | 71311.218 | 46459.7915 | 64693.4395 | 116395.8355 | 108345.724 | 99378.039 | 117486.6745 | 123509.8315 | 52883.901 | 51629.615 | 35410.2195 | 105410.613 | 77167.2415 | 152213.1395 | 63646.218 | 42809.7915 | 57393.4395 | 111833.3355 | 101593.224 | 88428.039 | 98141.6745
Category 1101 Continuous demand | 36322.7195 | 149059.5395 | 216370.613 | 185742.3315 | 89748.901 | 91597.115 | 36322.7195 | 216370.613 | 136479.7415 | 159878.1395 | 111643.718 | 136432.2915 | 138240.9395 | 171328.3355 | 201968.224 | 167633.039 | 165666.6745 | 148694.8315 | 80258.901 | 82654.615 | 35410.2195 | 195383.113 | 122792.2415 | 152213.1395 | 91568.718 | 112159.7915 | 114515.9395 | 163298.3355 | 185178.224 | 143725.539 | 135006.6745
Category 0011 Continuous demand | 64344.7915 | 115937.505 | 234520.6395 | 169864.8315 | 113656.401 | 107657.115 | 173927.7195 | 193923.113 | 104907.2415 | 234520.6395 | 103431.218 | 64344.7915 | 105208.4395 | 117125.8355 | 140100.724 | 120365.539 | 114749.1745 | 136832.3315 | 100698.901 | 96707.115 | 158232.7195 | 176220.613 | 94869.7415 | 220650.6395 | 85911.218 | 56679.7915 | 88783.4395 | 112563.3355 | 129880.724 | 105400.539 | 96134.1745
Category 0111 Continuous demand | 70184.7915 | 132068.1872 | 234520.6395 | 201072.3315 | 126431.401 | 117512.115 | 173927.7195 | 202683.113 | 118777.2415 | 234520.6395 | 110731.218 | 70184.7915 | 119260.9395 | 133733.3355 | 152328.224 | 130403.039 | 134276.6745 | 160009.8315 | 111648.901 | 105284.615 | 158232.7195 | 183703.113 | 107097.2415 | 220650.6395 | 90838.718 | 61242.2915 | 99733.4395 | 128075.8355 | 140830.724 | 113613.039 | 111099.1745
Category 1111 Continuous demand | 151246.218 | 185561.255 | 306890.613 | 235017.3315 | 158368.901 | 153282.115 | 173927.7195 | 306890.613 | 170789.7415 | 234520.6395 | 151246.218 | 160339.7915 | 192990.9395 | 188665.8355 | 245950.724 | 198840.539 | 182456.6745 | 185194.8315 | 139023.901 | 136309.615 | 158232.7195 | 273675.613 | 152904.7415 | 220650.6395 | 118761.218 | 130592.2915 | 156673.4395 | 179358.3355 | 224415.724 | 168910.539 | 147781.6745
Category 0002 Continuous demand | 40619.7915 | 86374.1292 | 159878.1395 | 120589.8315 | 45036.401 | 46154.615 | 83590.2195 | 103220.613 | 70597.2415 | 159878.1395 | 64011.218 | 40619.7915 | 50640.9395 | 99788.3355 | 96118.224 | 89158.039 | 97959.1745 | 100514.8315 | 41933.901 | 43052.115 | 79757.7195 | 97928.113 | 64757.2415 | 152213.1395 | 58718.718 | 38429.7915 | 46625.9395 | 96320.8355 | 90643.224 | 80215.539 | 83359.1745
Category 0000 Zero consumption | 4302.2915 | 12663.2188 | 24015.613 | 15652.3315 | 8536.401 | 7464.615 | 13145.2195 | 24015.613 | 9824.7415 | 11870.6395 | 12181.218 | 4302.2915 | 9213.4395 | 19670.8355 | 15818.224 | 17253.039 | 14739.1745 | 14009.8315 | 7988.901 | 7099.615 | 12780.2195 | 22555.613 | 9277.2415 | 11688.1395 | 10903.718 | 3937.2915 | 8483.4395 | 19305.8355 | 14905.724 | 15975.539 | 13096.6745
Category 1000 Zero consumption | 11870.6395 | 60461.958 | 119463.113 | 46859.8315 | 30983.901 | 37759.615 | 13145.2195 | 119463.113 | 60559.7415 | 11870.6395 | 51236.218 | 89712.2915 | 80205.9395 | 72413.3355 | 102140.724 | 83865.539 | 60364.1745 | 37004.8315 | 27151.401 | 33379.615 | 12780.2195 | 105045.613 | 53624.7415 | 11688.1395 | 37913.718 | 69819.7915 | 63598.4395 | 68580.8355 | 92103.224 | 69813.039 | 48136.6745
Category 0100 Zero consumption | 9959.7915 | 23115.3405 | 44487.3315 | 44487.3315 | 17478.901 | 15859.615 | 13145.2195 | 32045.613 | 23512.2415 | 11870.6395 | 19116.218 | 9959.7915 | 22718.4395 | 35548.3355 | 27133.224 | 27290.539 | 33171.6745 | 35362.3315 | 15653.901 | 14399.615 | 12780.2195 | 29490.613 | 21139.7415 | 11688.1395 | 15831.218 | 8317.2915 | 19068.4395 | 34088.3355 | 25125.724 | 24005.539 | 27331.6745
Category 1100 Zero consumption | 9959.7915 | 23115.3405 | 44487.3315 | 44487.3315 | 17478.901 | 15859.615 | 13145.2195 | 32045.613 | 23512.2415 | 11870.6395 | 19116.218 | 9959.7915 | 22718.4395 | 35548.3355 | 27133.224 | 27290.539 | 33171.6745 | 35362.3315 | 15653.901 | 14399.615 | 12780.2195 | 29490.613 | 21139.7415 | 11688.1395 | 15831.218 | 8317.2915 | 19068.4395 | 34088.3355 | 25125.724 | 24005.539 | 27331.6745
Category 0010 Zero consumption | 27114.7915 | 49245.508 | 90810.613 | 57809.8315 | 49233.901 | 49257.115 | 87970.2195 | 90810.613 | 41579.7415 | 77388.1395 | 48316.218 | 27114.7915 | 58853.4395 | 35183.3355 | 53230.724 | 46088.039 | 30251.6745 | 45217.3315 | 42846.401 | 43234.615 | 77932.7195 | 80225.613 | 37017.2415 | 71730.6395 | 35906.218 | 21457.2915 | 46990.9395 | 33723.3355 | 48303.224 | 39153.039 | 25141.6745
Category 0110 Zero consumption | 27114.7915 | 49245.508 | 90810.613 | 57809.8315 | 49233.901 | 49257.115 | 87970.2195 | 90810.613 | 41579.7415 | 77388.1395 | 48316.218 | 27114.7915 | 58853.4395 | 35183.3355 | 53230.724 | 46088.039 | 30251.6745 | 45217.3315 | 42846.401 | 43234.615 | 77932.7195 | 80225.613 | 37017.2415 | 71730.6395 | 35906.218 | 21457.2915 | 46990.9395 | 33723.3355 | 48303.224 | 39153.039 | 25141.6745
Category 1110 Zero consumption | 27114.7915 | 49245.508 | 90810.613 | 57809.8315 | 49233.901 | 49257.115 | 87970.2195 | 90810.613 | 41579.7415 | 77388.1395 | 48316.218 | 27114.7915 | 58853.4395 | 35183.3355 | 53230.724 | 46088.039 | 30251.6745 | 45217.3315 | 42846.401 | 43234.615 | 77932.7195 | 80225.613 | 37017.2415 | 71730.6395 | 35906.218 | 21457.2915 | 46990.9395 | 33723.3355 | 48303.224 | 39153.039 | 25141.6745
Category 0001 Zero consumption | 11870.6395 | 23321.7297 | 62193.3355 | 44852.3315 | 17478.901 | 16042.115 | 13145.2195 | 24015.613 | 23694.7415 | 11870.6395 | 22948.718 | 17624.7915 | 29653.4395 | 62193.3355 | 40638.224 | 17253.039 | 37734.1745 | 35544.8315 | 15653.901 | 14399.615 | 12780.2195 | 22555.613 | 21322.2415 | 11688.1395 | 18386.218 | 14157.2915 | 24360.9395 | 58908.3355 | 37170.724 | 15975.539 | 30799.1745
Category 1001 Zero consumption | 11870.6395 | 23321.7297 | 62193.3355 | 44852.3315 | 17478.901 | 16042.115 | 13145.2195 | 24015.613 | 23694.7415 | 11870.6395 | 22948.718 | 17624.7915 | 29653.4395 | 62193.3355 | 40638.224 | 17253.039 | 37734.1745 | 35544.8315 | 15653.901 | 14399.615 | 12780.2195 | 22555.613 | 21322.2415 | 11688.1395 | 18386.218 | 14157.2915 | 24360.9395 | 58908.3355 | 37170.724 | 15975.539 | 30799.1745
Category 0101 Zero consumption | 10689.7915 | 39550.1772 | 97463.1395 | 75147.3315 | 20216.401 | 20239.615 | 13145.2195 | 35878.113 | 43222.2415 | 97463.1395 | 18386.218 | 10689.7915 | 18885.9395 | 54528.3355 | 45018.224 | 43898.039 | 58904.1745 | 57992.3315 | 18026.401 | 18049.615 | 12780.2195 | 32958.113 | 38477.2415 | 90345.6395 | 15283.718 | 8864.7915 | 15965.9395 | 51790.8355 | 41003.224 | 37328.039 | 47041.6745
Category 1101 Zero consumption | 10689.7915 | 39550.1772 | 97463.1395 | 75147.3315 | 20216.401 | 20239.615 | 13145.2195 | 35878.113 | 43222.2415 | 97463.1395 | 18386.218 | 10689.7915 | 18885.9395 | 54528.3355 | 45018.224 | 43898.039 | 58904.1745 | 57992.3315 | 18026.401 | 18049.615 | 12780.2195 | 32958.113 | 38477.2415 | 90345.6395 | 15283.718 | 8864.7915 | 15965.9395 | 51790.8355 | 41003.224 | 37328.039 | 47041.6745
Category 0011 Zero consumption | 10689.7915 | 39550.1772 | 97463.1395 | 75147.3315 | 20216.401 | 20239.615 | 34862.7195 | 35878.113 | 43222.2415 | 97463.1395 | 18386.218 | 10689.7915 | 18885.9395 | 54528.3355 | 45018.224 | 43898.039 | 58904.1745 | 57992.3315 | 18026.401 | 18049.615 | 31577.7195 | 32958.113 | 38477.2415 | 90345.6395 | 15283.718 | 8864.7915 | 15965.9395 | 51790.8355 | 41003.224 | 37328.039 | 47041.6745
Category 0111 Zero consumption | 10689.7915 | 39550.1772 | 97463.1395 | 75147.3315 | 20216.401 | 20239.615 | 34862.7195 | 35878.113 | 43222.2415 | 97463.1395 | 18386.218 | 10689.7915 | 18885.9395 | 54528.3355 | 45018.224 | 43898.039 | 58904.1745 | 57992.3315 | 18026.401 | 18049.615 | 31577.7195 | 32958.113 | 38477.2415 | 90345.6395 | 15283.718 | 8864.7915 | 15965.9395 | 51790.8355 | 41003.224 | 37328.039 | 47041.6745
Category 1111 Zero consumption | 10689.7915 | 39550.1772 | 97463.1395 | 75147.3315 | 20216.401 | 20239.615 | 34862.7195 | 35878.113 | 43222.2415 | 97463.1395 | 18386.218 | 10689.7915 | 18885.9395 | 54528.3355 | 45018.224 | 43898.039 | 58904.1745 | 57992.3315 | 18026.401 | 18049.615 | 31577.7195 | 32958.113 | 38477.2415 | 90345.6395 | 15283.718 | 8864.7915 | 15965.9395 | 51790.8355 | 41003.224 | 37328.039 | 47041.6745
Category 0002 Zero consumption | 10689.7915 | 39550.1772 | 97463.1395 | 75147.3315 | 20216.401 | 20239.615 | 34862.7195 | 35878.113 | 43222.2415 | 97463.1395 | 18386.218 | 10689.7915 | 18885.9395 | 54528.3355 | 45018.224 | 43898.039 | 58904.1745 | 57992.3315 | 18026.401 | 18049.615 | 31577.7195 | 32958.113 | 38477.2415 | 90345.6395 | 15283.718 | 8864.7915 | 15965.9395 | 51790.8355 | 41003.224 | 37328.039 | 47041.6745
Category 0000 Capacity £/kVA/year | 0.86046 | 2.5326 | 4.8031 | 3.1305 | 1.7073 | 1.4929 | 2.629 | 4.8031 | 1.9649 | 2.3741 | 2.4362 | 0.86046 | 1.8427 | 3.9342 | 3.1636 | 3.4506 | 2.9478 | 2.802 | 1.5978 | 1.4199 | 2.556 | 4.5111 | 1.8554 | 2.3376 | 2.1807 | 0.78746 | 1.6967 | 3.8612 | 2.9811 | 3.1951 | 2.6193
Category 1000 Capacity £/kVA/year | 2.3741 | 12.0924 | 23.8926 | 9.372 | 6.1968 | 7.5519 | 2.629 | 23.8926 | 12.1119 | 2.3741 | 10.2472 | 17.9425 | 16.0412 | 14.4827 | 20.4281 | 16.7731 | 12.0728 | 7.401 | 5.4303 | 6.6759 | 2.556 | 21.0091 | 10.7249 | 2.3376 | 7.5827 | 13.964 | 12.7197 | 13.7162 | 18.4206 | 13.9626 | 9.6273
Category 0100 Capacity £/kVA/year | 1.992 | 4.6231 | 8.8975 | 8.8975 | 3.4958 | 3.1719 | 2.629 | 6.4091 | 4.7024 | 2.3741 | 3.8232 | 1.992 | 4.5437 | 7.1097 | 5.4266 | 5.4581 | 6.6343 | 7.0725 | 3.1308 | 2.8799 | 2.556 | 5.8981 | 4.2279 | 2.3376 | 3.1662 | 1.6635 | 3.8137 | 6.8177 | 5.0251 | 4.8011 | 5.4663
Category 1100 Capacity £/kVA/year | 1.992 | 4.6231 | 8.8975 | 8.8975 | 3.4958 | 3.1719 | 2.629 | 6.4091 | 4.7024 | 2.3741 | 3.8232 | 1.992 | 4.5437 | 7.1097 | 5.4266 | 5.4581 | 6.6343 | 7.0725 | 3.1308 | 2.8799 | 2.556 | 5.8981 | 4.2279 | 2.3376 | 3.1662 | 1.6635 | 3.8137 | 6.8177 | 5.0251 | 4.8011 | 5.4663
Category 0010 Capacity £/kVA/year | 5.423 | 9.8491 | 18.1621 | 11.562 | 9.8468 | 9.8514 | 17.594 | 18.1621 | 8.3159 | 15.4776 | 9.6632 | 5.423 | 11.7707 | 7.0367 | 10.6461 | 9.2176 | 6.0503 | 9.0435 | 8.5693 | 8.6469 | 15.5865 | 16.0451 | 7.4034 | 14.3461 | 7.1812 | 4.2915 | 9.3982 | 6.7447 | 9.6606 | 7.8306 | 5.0283
Category 0110 Capacity £/kVA/year | 5.423 | 9.8491 | 18.1621 | 11.562 | 9.8468 | 9.8514 | 17.594 | 18.1621 | 8.3159 | 15.4776 | 9.6632 | 5.423 | 11.7707 | 7.0367 | 10.6461 | 9.2176 | 6.0503 | 9.0435 | 8.5693 | 8.6469 | 15.5865 | 16.0451 | 7.4034 | 14.3461 | 7.1812 | 4.2915 | 9.3982 | 6.7447 | 9.6606 | 7.8306 | 5.0283
Category 1110 Capacity £/kVA/year | 5.423 | 9.8491 | 18.1621 | 11.562 | 9.8468 | 9.8514 | 17.594 | 18.1621 | 8.3159 | 15.4776 | 9.6632 | 5.423 | 11.7707 | 7.0367 | 10.6461 | 9.2176 | 6.0503 | 9.0435 | 8.5693 | 8.6469 | 15.5865 | 16.0451 | 7.4034 | 14.3461 | 7.1812 | 4.2915 | 9.3982 | 6.7447 | 9.6606 | 7.8306 | 5.0283
Category 0001 Capacity £/kVA/year | 2.3741 | 4.6643 | 12.4387 | 8.9705 | 3.4958 | 3.2084 | 2.629 | 4.8031 | 4.7389 | 2.3741 | 4.5897 | 3.525 | 5.9307 | 12.4387 | 8.1276 | 3.4506 | 7.5468 | 7.109 | 3.1308 | 2.8799 | 2.556 | 4.5111 | 4.2644 | 2.3376 | 3.6772 | 2.8315 | 4.8722 | 11.7817 | 7.4341 | 3.1951 | 6.1598
Category 1001 Capacity £/kVA/year | 2.3741 | 4.6643 | 12.4387 | 8.9705 | 3.4958 | 3.2084 | 2.629 | 4.8031 | 4.7389 | 2.3741 | 4.5897 | 3.525 | 5.9307 | 12.4387 | 8.1276 | 3.4506 | 7.5468 | 7.109 | 3.1308 | 2.8799 | 2.556 | 4.5111 | 4.2644 | 2.3376 | 3.6772 | 2.8315 | 4.8722 | 11.7817 | 7.4341 | 3.1951 | 6.1598
Category 0101 Capacity £/kVA/year | 2.138 | 7.91 | 19.4926 | 15.0295 | 4.0433 | 4.0479 | 2.629 | 7.1756 | 8.6444 | 19.4926 | 3.6772 | 2.138 | 3.7772 | 10.9057 | 9.0036 | 8.7796 | 11.7808 | 11.5985 | 3.6053 | 3.6099 | 2.556 | 6.5916 | 7.6954 | 18.0691 | 3.0567 | 1.773 | 3.1932 | 10.3582 | 8.2006 | 7.4656 | 9.4083
Category 1101 Capacity £/kVA/year | 2.138 | 7.91 | 19.4926 | 15.0295 | 4.0433 | 4.0479 | 2.629 | 7.1756 | 8.6444 | 19.4926 | 3.6772 | 2.138 | 3.7772 | 10.9057 | 9.0036 | 8.7796 | 11.7808 | 11.5985 | 3.6053 | 3.6099 | 2.556 | 6.5916 | 7.6954 | 18.0691 | 3.0567 | 1.773 | 3.1932 | 10.3582 | 8.2006 | 7.4656 | 9.4083
Category 0011 Capacity £/kVA/year | 2.138 | 7.91 | 19.4926 | 15.0295 | 4.0433 | 4.0479 | 6.9725 | 7.1756 | 8.6444 | 19.4926 | 3.6772 | 2.138 | 3.7772 | 10.9057 | 9.0036 | 8.7796 | 11.7808 | 11.5985 | 3.6053 | 3.6099 | 6.3155 | 6.5916 | 7.6954 | 18.0691 | 3.0567 | 1.773 | 3.1932 | 10.3582 | 8.2006 | 7.4656 | 9.4083
Category 0111 Capacity £/kVA/year | 2.138 | 7.91 | 19.4926 | 15.0295 | 4.0433 | 4.0479 | 6.9725 | 7.1756 | 8.6444 | 19.4926 | 3.6772 | 2.138 | 3.7772 | 10.9057 | 9.0036 | 8.7796 | 11.7808 | 11.5985 | 3.6053 | 3.6099 | 6.3155 | 6.5916 | 7.6954 | 18.0691 | 3.0567 | 1.773 | 3.1932 | 10.3582 | 8.2006 | 7.4656 | 9.4083
Category 1111 Capacity £/kVA/year | 2.138 | 7.91 | 19.4926 | 15.0295 | 4.0433 | 4.0479 | 6.9725 | 7.1756 | 8.6444 | 19.4926 | 3.6772 | 2.138 | 3.7772 | 10.9057 | 9.0036 | 8.7796 | 11.7808 | 11.5985 | 3.6053 | 3.6099 | 6.3155 | 6.5916 | 7.6954 | 18.0691 | 3.0567 | 1.773 | 3.1932 | 10.3582 | 8.2006 | 7.4656 | 9.4083
Category 0002 Capacity £/kVA/year | 2.138 | 7.91 | 19.4926 | 15.0295 | 4.0433 | 4.0479 | 6.9725 | 7.1756 | 8.6444 | 19.4926 | 3.6772 | 2.138 | 3.7772 | 10.9057 | 9.0036 | 8.7796 | 11.7808 | 11.5985 | 3.6053 | 3.6099 | 6.3155 | 6.5916 | 7.6954 | 18.0691 | 3.0567 | 1.773 | 3.1932 | 10.3582 | 8.2006 | 7.4656 | 9.4083
Category 0000 Consumption £/kW/year | 5.475 | 8.8208 | 14.8433 | 10.0172 | 5.475 | 5.7183 | 10.7472 | 14.8433 | 6.0022 | 13.5861 | 9.8144 | 6.4483 | 6.8539 | 7.8272 | 11.1933 | 9.9767 | 5.7994 | 9.3278 | 5.2722 | 5.475 | 10.6256 | 14.3161 | 5.7589 | 13.4239 | 9.3278 | 6.4078 | 6.6106 | 7.665 | 10.8689 | 9.3683 | 5.2317
Category 1000 Consumption £/kW/year | 5.5156 | 9.9158 | 14.8839 | 10.0172 | 5.5156 | 5.7183 | 10.7472 | 14.8839 | 6.0022 | 13.5861 | 9.855 | 6.4889 | 6.8944 | 10.0172 | 11.2744 | 9.9767 | 8.6383 | 9.3683 | 5.3128 | 5.5156 | 10.6256 | 14.3161 | 5.7994 | 13.4239 | 9.3278 | 6.3672 | 6.6106 | 9.855 | 10.9094 | 9.4089 | 7.9894
Category 0100 Consumption £/kW/year | 5.5156 | 9.9361 | 14.9244 | 10.0578 | 5.5156 | 5.7589 | 10.7472 | 14.9244 | 6.0428 | 13.5861 | 9.8956 | 6.57 | 6.935 | 10.0172 | 11.2744 | 9.9767 | 8.6383 | 9.3683 | 5.3128 | 5.5156 | 10.6256 | 14.3972 | 5.7994 | 13.4239 | 9.3683 | 6.4889 | 6.6511 | 9.855 | 10.95 | 9.4089 | 7.9894
Category 1100 Consumption £/kW/year | 10.7472 | 18.7367 | 37.7572 | 17.4794 | 12.5722 | 13.5861 | 10.7472 | 37.7572 | 17.3983 | 13.5861 | 18.4122 | 26.3611 | 22.5083 | 21.9406 | 31.755 | 24.82 | 19.0611 | 14.8839 | 11.3556 | 12.3289 | 10.6256 | 34.1072 | 15.8167 | 13.4239 | 15.2489 | 21.7378 | 18.6961 | 21.0078 | 29.2 | 21.4133 | 15.9789
Category 0010 Consumption £/kW/year | 5.5561 | 9.9564 | 14.9244 | 10.0578 | 5.5561 | 5.7183 | 10.7878 | 14.9244 | 6.0428 | 13.7889 | 9.8956 | 6.57 | 6.935 | 10.0172 | 11.315 | 10.0172 | 8.6383 | 9.3683 | 5.3533 | 5.5561 | 10.6661 | 14.3972 | 5.84 | 13.6672 | 9.4089 | 6.5294 | 6.6511 | 9.8956 | 10.9906 | 9.49 | 7.9894
Category 0110 Consumption £/kW/year | 7.8678 | 11.8625 | 16.9928 | 16.9928 | 8.3544 | 7.9083 | 10.7878 | 16.8711 | 9.125 | 13.7889 | 11.4367 | 7.8678 | 9.8956 | 13.6267 | 13.9917 | 12.2883 | 12.8561 | 14.4783 | 7.7461 | 7.4217 | 10.6661 | 16.06 | 8.5572 | 13.6672 | 10.4633 | 7.5028 | 8.9628 | 13.2211 | 13.4239 | 11.2744 | 11.2339
Category 1110 Consumption £/kW/year | 10.7878 | 23.9075 | 39.8256 | 24.455 | 15.4111 | 15.7761 | 10.7878 | 39.8256 | 20.6022 | 13.7889 | 19.9939 | 27.74 | 25.55 | 25.55 | 34.675 | 27.2939 | 23.36 | 20.0344 | 13.7889 | 14.2756 | 10.6661 | 35.9322 | 18.615 | 13.6672 | 16.3439 | 22.7922 | 21.0483 | 24.3739 | 31.8361 | 23.4817 | 19.2639
Category 0001 Consumption £/kW/year | 5.1506 | 9.3683 | 14.965 | 10.0983 | 5.5561 | 5.7589 | 5.1506 | 14.965 | 6.0428 | 13.87 | 10.0983 | 6.6106 | 7.0567 | 10.0578 | 11.315 | 10.0983 | 8.6789 | 9.4089 | 5.3533 | 5.5561 | 5.0289 | 14.4783 | 5.84 | 13.7483 | 9.6522 | 6.57 | 6.7728 | 9.9361 | 11.0311 | 9.49 | 8.0706
Category 1001 Consumption £/kW/year | 5.1506 | 19.2233 | 38.1628 | 17.6417 | 12.6533 | 13.6672 | 5.1506 | 38.1628 | 17.6417 | 13.87 | 19.1017 | 26.645 | 23.4411 | 22.3056 | 32.1606 | 25.2661 | 19.345 | 15.0056 | 11.4367 | 12.4506 | 5.0289 | 34.4722 | 15.9789 | 13.7483 | 15.8167 | 21.9811 | 19.4667 | 21.3322 | 29.6056 | 21.7783 | 16.2222
Category 0101 Consumption £/kW/year | 5.1506 | 12.045 | 17.0333 | 17.0333 | 8.3544 | 7.9489 | 5.1506 | 16.9117 | 9.1656 | 13.87 | 11.7611 | 7.9489 | 10.1794 | 13.7483 | 14.0728 | 12.3289 | 13.0183 | 14.5594 | 7.7461 | 7.4622 | 5.0289 | 16.1006 | 8.5978 | 13.7483 | 10.7472 | 7.5433 | 9.2061 | 13.3428 | 13.4644 | 11.3556 | 11.3556
Category 1101 Consumption £/kW/year | 5.1506 | 24.1508 | 40.1094 | 24.5767 | 15.4517 | 15.8572 | 5.1506 | 40.1094 | 20.7239 | 13.87 | 20.7239 | 27.9428 | 26.5233 | 25.9556 | 34.8778 | 27.4967 | 23.725 | 20.1561 | 13.8294 | 14.3567 | 5.0289 | 36.0944 | 18.7367 | 13.7483 | 16.9522 | 22.9544 | 21.9 | 24.7794 | 32.0389 | 23.6439 | 19.5478
Category 0011 Consumption £/kW/year | 11.9233 | 19.3044 | 35.1211 | 21.0483 | 20.7644 | 19.4261 | 30.9033 | 35.1211 | 13.7078 | 30.4572 | 18.8989 | 11.9233 | 19.1828 | 13.9106 | 21.1294 | 16.9928 | 12.41 | 17.52 | 18.3717 | 17.4794 | 28.1456 | 31.8361 | 12.5317 | 28.9567 | 15.695 | 10.6256 | 16.1817 | 13.505 | 19.7506 | 15.1272 | 10.9094
Category 0111 Consumption £/kW/year | 13.2211 | 21.9608 | 37.0678 | 27.9833 | 23.6033 | 21.6161 | 30.9033 | 37.0678 | 16.79 | 30.4572 | 20.5211 | 13.2211 | 22.3056 | 17.6011 | 23.8467 | 19.2233 | 16.7494 | 22.6706 | 20.805 | 19.3856 | 28.1456 | 33.4989 | 15.2489 | 28.9567 | 16.79 | 11.6394 | 18.615 | 16.9522 | 22.1839 | 16.9522 | 14.235
Category 1111 Consumption £/kW/year | 27.4561 | 30.8019 | 60.225 | 35.5267 | 30.7006 | 29.565 | 30.9033 | 60.225 | 28.3483 | 30.4572 | 29.5244 | 33.2556 | 38.69 | 29.8083 | 44.6517 | 34.4317 | 27.4561 | 28.2672 | 26.8883 | 26.28 | 28.1456 | 53.4928 | 25.4283 | 28.9567 | 22.995 | 27.0506 | 31.2683 | 28.3483 | 40.7583 | 29.2406 | 22.3867
Category 0002 Consumption £/kW/year | 5.5156 | 10.0578 | 14.965 | 10.0983 | 5.5156 | 5.7589 | 10.8283 | 14.965 | 6.0833 | 13.87 | 10.1389 | 6.6511 | 7.0567 | 10.0578 | 11.3556 | 10.0578 | 8.6789 | 9.4494 | 5.3128 | 5.5561 | 10.7067 | 14.4378 | 5.84 | 13.7483 | 9.6522 | 6.57 | 6.8133 | 9.8956 | 11.0311 | 9.5306 | 8.0706
Category 0000 Breakeven local £/kVA/year | 0.0365 | 0.12775 | 0.3285 | 0.3285 | 0.1095 | 0.073 | 0.073 | 0.292 | 0.1095 | 0.0365 | 0.2555 | 0.073 | 0.146 | 0.073 | 0.1825 | 0.2555 | 0.3285
Category 1000 Breakeven local £/kVA/year | 0.0365 | 1.9893 | 3.9785 | 1.971 | 0.7665 | 0.876 | 0.073 | 2.8835 | 1.387 | 0.0365 | 2.6645 | 3.9785 | 3.3215 | 0.7665 | 2.0075 | 2.8105 | 2.4455
Category 0100 Breakeven local £/kVA/year | 0.0365 | 0.438 | 1.825 | 1.825 | 0.365 | 0.292 | 0.073 | 0.511 | 0.4745 | 0.0365 | 0.657 | 0.3285 | 0.73 | 0.292 | 0.4015 | 0.657 | 1.168
Category 1100 Breakeven local £/kVA/year | 0.0365 | 0.438 | 1.825 | 1.825 | 0.365 | 0.292 | 0.073 | 0.511 | 0.4745 | 0.0365 | 0.657 | 0.3285 | 0.73 | 0.292 | 0.4015 | 0.657 | 1.168
Category 0010 Breakeven local £/kVA/year | 0.292 | 1.241 | 2.5185 | 2.5185 | 1.2775 | 1.2045 | 2.0075 | 2.117 | 0.9125 | 1.1315 | 2.482 | 1.1315 | 2.3725 | 0.292 | 0.9855 | 1.387 | 1.022
Category 0110 Breakeven local £/kVA/year | 0.292 | 1.241 | 2.5185 | 2.5185 | 1.2775 | 1.2045 | 2.0075 | 2.117 | 0.9125 | 1.1315 | 2.482 | 1.1315 | 2.3725 | 0.292 | 0.9855 | 1.387 | 1.022
Category 1110 Breakeven local £/kVA/year | 0.292 | 1.241 | 2.5185 | 2.5185 | 1.2775 | 1.2045 | 2.0075 | 2.117 | 0.9125 | 1.1315 | 2.482 | 1.1315 | 2.3725 | 0.292 | 0.9855 | 1.387 | 1.022
Category 0001 Breakeven local £/kVA/year | 0.0365 | 0.56575 | 1.8615 | 1.8615 | 0.365 | 0.3285 | 0.073 | 0.292 | 0.4745 | 0.0365 | 0.9125 | 0.6935 | 1.0585 | 0.657 | 0.6935 | 0.2555 | 1.387
Category 1001 Breakeven local £/kVA/year | 0.0365 | 0.56575 | 1.8615 | 1.8615 | 0.365 | 0.3285 | 0.073 | 0.292 | 0.4745 | 0.0365 | 0.9125 | 0.6935 | 1.0585 | 0.657 | 0.6935 | 0.2555 | 1.387
Category 0101 Breakeven local £/kVA/year | 0.073 | 0.60225 | 3.431 | 3.431 | 0.438 | 0.438 | 0.073 | 0.584 | 0.949 | 1.4235 | 0.6205 | 0.365 | 0.584 | 0.5475 | 0.803 | 1.314 | 2.3725
Category 1101 Breakeven local £/kVA/year | 0.073 | 0.60225 | 3.431 | 3.431 | 0.438 | 0.438 | 0.073 | 0.584 | 0.949 | 1.4235 | 0.6205 | 0.365 | 0.584 | 0.5475 | 0.803 | 1.314 | 2.3725
Category 0011 Breakeven local £/kVA/year | 0.365 | 0.63875 | 3.431 | 3.431 | 0.438 | 0.438 | 0.657 | 0.584 | 0.949 | 1.4235 | 0.6205 | 0.365 | 0.584 | 0.5475 | 0.803 | 1.314 | 2.3725
Category 0111 Breakeven local £/kVA/year | 0.365 | 0.63875 | 3.431 | 3.431 | 0.438 | 0.438 | 0.657 | 0.584 | 0.949 | 1.4235 | 0.6205 | 0.365 | 0.584 | 0.5475 | 0.803 | 1.314 | 2.3725
Category 1111 Breakeven local £/kVA/year | 0.365 | 0.63875 | 3.431 | 3.431 | 0.438 | 0.438 | 0.657 | 0.584 | 0.949 | 1.4235 | 0.6205 | 0.365 | 0.584 | 0.5475 | 0.803 | 1.314 | 2.3725
Category 0002 Breakeven local £/kVA/year | 0.365 | 0.63875 | 3.431 | 3.431 | 0.438 | 0.438 | 0.657 | 0.584 | 0.949 | 1.4235 | 0.6205 | 0.365 | 0.584 | 0.5475 | 0.803 | 1.314 | 2.3725
Category 0000 Breakeven remote £/kW/year | 0.040556 | 0.24333 | 0.68944 | 0.68944 | 0.20278 | 0.24333 | 0.12167 | 0.52722 | 0.24333 | 0.16222 | 0.48667 | 0.040556 | 0.24333 | 0.16222 | 0.32444 | 0.60833 | 0.56778
Category 1000 Breakeven remote £/kW/year | 0.12167 | 0.24333 | 0.64889 | 0.64889 | 0.20278 | 0.20278 | 0.12167 | 0.56778 | 0.20278 | 0.16222 | 0.52722 | 0.12167 | 0.28389 | 0.16222 | 0.365 | 0.56778 | 0.64889
Category 0100 Breakeven remote £/kW/year | 0.081111 | 0.26361 | 0.68944 | 0.68944 | 0.20278 | 0.24333 | 0.12167 | 0.52722 | 0.24333 | 0.16222 | 0.52722 | 0.081111 | 0.28389 | 0.16222 | 0.32444 | 0.56778 | 0.64889
Category 1100 Breakeven remote £/kW/year | 0.12167 | 2.5753 | 4.6233 | 2.5956 | 1.2167 | 1.2572 | 0.12167 | 3.65 | 1.5817 | 0.16222 | 3.1633 | 4.6233 | 3.8122 | 0.93278 | 2.555 | 3.4067 | 3.0822
Category 0010 Breakeven remote £/kW/year | 0.040556 | 0.24333 | 0.68944 | 0.68944 | 0.20278 | 0.16222 | 0.12167 | 0.52722 | 0.20278 | 0.12167 | 0.48667 | 0.040556 | 0.28389 | 0.12167 | 0.32444 | 0.52722 | 0.64889
Category 0110 Breakeven remote £/kW/year | 0.12167 | 0.58806 | 2.5144 | 2.5144 | 0.60833 | 0.48667 | 0.12167 | 0.81111 | 0.56778 | 0.12167 | 0.97333 | 0.365 | 0.93278 | 0.40556 | 0.56778 | 1.0139 | 1.6222
Category 1110 Breakeven remote £/kW/year | 0.12167 | 3.2444 | 4.9478 | 4.4206 | 1.6222 | 1.5006 | 0.12167 | 3.8933 | 1.9872 | 0.12167 | 3.65 | 4.9478 | 4.5017 | 1.1761 | 2.8389 | 3.8122 | 4.0961
Category 0001 Breakeven remote £/kW/year | 0.040556 | 0.24333 | 0.68944 | 0.68944 | 0.20278 | 0.20278 | 0.12167 | 0.48667 | 0.20278 | 0.12167 | 0.44611 | 0.040556 | 0.28389 | 0.12167 | 0.28389 | 0.60833 | 0.60833
Category 1001 Breakeven remote £/kW/year | 0.12167 | 2.5956 | 4.6639 | 2.6361 | 1.2167 | 1.2167 | 0.12167 | 3.6906 | 1.6628 | 0.12167 | 3.285 | 4.6639 | 3.9744 | 0.97333 | 2.555 | 3.4878 | 3.1228
Category 0101 Breakeven remote £/kW/year | 0.12167 | 0.60833 | 2.4739 | 2.4739 | 0.60833 | 0.48667 | 0.12167 | 0.81111 | 0.56778 | 0.12167 | 1.0139 | 0.40556 | 0.97333 | 0.40556 | 0.60833 | 0.97333 | 1.6628
Category 1101 Breakeven remote £/kW/year | 0.12167 | 3.3053 | 4.9883 | 4.4206 | 1.6222 | 1.5006 | 0.12167 | 4.015 | 1.9872 | 0.12167 | 3.7717 | 4.9883 | 4.6233 | 1.1761 | 2.8389 | 3.8528 | 4.1772
Category 0011 Breakeven remote £/kW/year | 0.40556 | 1.9061 | 3.5283 | 3.5283 | 2.3928 | 1.9467 | 2.7578 | 3.285 | 1.1761 | 1.5006 | 3.2039 | 1.2978 | 3.0011 | 0.40556 | 1.3789 | 1.8656 | 1.5006
Category 0111 Breakeven remote £/kW/year | 0.64889 | 2.3928 | 5.3128 | 5.3128 | 2.7983 | 2.2306 | 2.7578 | 3.5689 | 1.5411 | 1.5006 | 3.7311 | 1.5817 | 3.6906 | 0.64889 | 1.6628 | 2.2711 | 2.5144
Category 1111 Breakeven remote £/kW/year | 1.46 | 4.4814 | 7.4217 | 7.2594 | 3.8122 | 3.285 | 2.7578 | 6.7322 | 2.92 | 1.5006 | 6.5294 | 6.205 | 7.4217 | 1.46 | 3.8933 | 5.1911 | 5.0694
Category 0002 Breakeven remote £/kW/year | 0.081111 | 0.24333 | 0.64889 | 0.64889 | 0.20278 | 0.20278 | 0.12167 | 0.52722 | 0.24333 | 0.12167 | 0.48667 | 0.081111 | 0.24333 | 0.16222 | 0.32444 | 0.52722 | 0.60833
Category 0000 Capacity charge 1 | 182.5 | 638.75 | 1642.5 | 1642.5 | 547.5 | 365 | 365 | 1460 | 547.5 | 182.5 | 1277.5 | 365 | 730 | 365 | 912.5 | 1277.5 | 1642.5
Category 1000 Capacity charge 1 | 182.5 | 9946.25 | 19892.5 | 9855 | 3832.5 | 4380 | 365 | 14417.5 | 6935 | 182.5 | 13322.5 | 19892.5 | 16607.5 | 3832.5 | 10037.5 | 14052.5 | 12227.5
Category 0100 Capacity charge 1 | 182.5 | 2190 | 9125 | 9125 | 1825 | 1460 | 365 | 2555 | 2372.5 | 182.5 | 3285 | 1642.5 | 3650 | 1460 | 2007.5 | 3285 | 5840
Category 1100 Capacity charge 1 | 182.5 | 2190 | 9125 | 9125 | 1825 | 1460 | 365 | 2555 | 2372.5 | 182.5 | 3285 | 1642.5 | 3650 | 1460 | 2007.5 | 3285 | 5840
Category 0010 Capacity charge 1 | 1460 | 6205 | 12592.5 | 12592.5 | 6387.5 | 6022.5 | 10037.5 | 10585 | 4562.5 | 5657.5 | 12410 | 5657.5 | 11862.5 | 1460 | 4927.5 | 6935 | 5110
Category 0110 Capacity charge 1 | 1460 | 6205 | 12592.5 | 12592.5 | 6387.5 | 6022.5 | 10037.5 | 10585 | 4562.5 | 5657.5 | 12410 | 5657.5 | 11862.5 | 1460 | 4927.5 | 6935 | 5110
Category 1110 Capacity charge 1 | 1460 | 6205 | 12592.5 | 12592.5 | 6387.5 | 6022.5 | 10037.5 | 10585 | 4562.5 | 5657.5 | 12410 | 5657.5 | 11862.5 | 1460 | 4927.5 | 6935 | 5110
Category 0001 Capacity charge 1 | 182.5 | 2828.75 | 9307.5 | 9307.5 | 1825 | 1642.5 | 365 | 1460 | 2372.5 | 182.5 | 4562.5 | 3467.5 | 5292.5 | 3285 | 3467.5 | 1277.5 | 6935
Category 1001 Capacity charge 1 | 182.5 | 2828.75 | 9307.5 | 9307.5 | 1825 | 1642.5 | 365 | 1460 | 2372.5 | 182.5 | 4562.5 | 3467.5 | 5292.5 | 3285 | 3467.5 | 1277.5 | 6935
Category 0101 Capacity charge 1 | 365 | 3011.25 | 17155 | 17155 | 2190 | 2190 | 365 | 2920 | 4745 | 7117.5 | 3102.5 | 1825 | 2920 | 2737.5 | 4015 | 6570 | 11862.5
Category 1101 Capacity charge 1 | 365 | 3011.25 | 17155 | 17155 | 2190 | 2190 | 365 | 2920 | 4745 | 7117.5 | 3102.5 | 1825 | 2920 | 2737.5 | 4015 | 6570 | 11862.5
Category 0011 Capacity charge 1 | 1825 | 3193.75 | 17155 | 17155 | 2190 | 2190 | 3285 | 2920 | 4745 | 7117.5 | 3102.5 | 1825 | 2920 | 2737.5 | 4015 | 6570 | 11862.5
Category 0111 Capacity charge 1 | 1825 | 3193.75 | 17155 | 17155 | 2190 | 2190 | 3285 | 2920 | 4745 | 7117.5 | 3102.5 | 1825 | 2920 | 2737.5 | 4015 | 6570 | 11862.5
Category 1111 Capacity charge 1 | 1825 | 3193.75 | 17155 | 17155 | 2190 | 2190 | 3285 | 2920 | 4745 | 7117.5 | 3102.5 | 1825 | 2920 | 2737.5 | 4015 | 6570 | 11862.5
Category 0002 Capacity charge 1 | 1825 | 3193.75 | 17155 | 17155 | 2190 | 2190 | 3285 | 2920 | 4745 | 7117.5 | 3102.5 | 1825 | 2920 | 2737.5 | 4015 | 6570 | 11862.5
Category 0000 Capacity scaling | 3937.2915 | 12234.1795 | 22555.613 | 14009.8315 | 7988.901 | 7099.615 | 12780.2195 | 22555.613 | 9277.2415 | 11688.1395 | 10903.718 | 3937.2915 | 8483.4395 | 19305.8355 | 14905.724 | 15975.539 | 13096.6745
Category 1000 Capacity scaling | 11688.1395 | 50880.708 | 105045.613 | 37004.8315 | 27151.401 | 33379.615 | 12780.2195 | 105045.613 | 53624.7415 | 11688.1395 | 37913.718 | 69819.7915 | 63598.4395 | 68580.8355 | 92103.224 | 69813.039 | 48136.6745
Category 0100 Capacity scaling | 8317.2915 | 20104.0905 | 35362.3315 | 35362.3315 | 15653.901 | 14399.615 | 12780.2195 | 29490.613 | 21139.7415 | 11688.1395 | 15831.218 | 8317.2915 | 19068.4395 | 34088.3355 | 25125.724 | 24005.539 | 27331.6745
Category 1100 Capacity scaling | 8317.2915 | 20104.0905 | 35362.3315 | 35362.3315 | 15653.901 | 14399.615 | 12780.2195 | 29490.613 | 21139.7415 | 11688.1395 | 15831.218 | 8317.2915 | 19068.4395 | 34088.3355 | 25125.724 | 24005.539 | 27331.6745
Category 0010 Capacity scaling | 21457.2915 | 43040.508 | 80225.613 | 45217.3315 | 42846.401 | 43234.615 | 77932.7195 | 80225.613 | 37017.2415 | 71730.6395 | 35906.218 | 21457.2915 | 46990.9395 | 33723.3355 | 48303.224 | 39153.039 | 25141.6745
Category 0110 Capacity scaling | 21457.2915 | 43040.508 | 80225.613 | 45217.3315 | 42846.401 | 43234.615 | 77932.7195 | 80225.613 | 37017.2415 | 71730.6395 | 35906.218 | 21457.2915 | 46990.9395 | 33723.3355 | 48303.224 | 39153.039 | 25141.6745
Category 1110 Capacity scaling | 21457.2915 | 43040.508 | 80225.613 | 45217.3315 | 42846.401 | 43234.615 | 77932.7195 | 80225.613 | 37017.2415 | 71730.6395 | 35906.218 | 21457.2915 | 46990.9395 | 33723.3355 | 48303.224 | 39153.039 | 25141.6745
Category 0001 Capacity scaling | 11688.1395 | 19854.2297 | 58908.3355 | 35544.8315 | 15653.901 | 14399.615 | 12780.2195 | 22555.613 | 21322.2415 | 11688.1395 | 18386.218 | 14157.2915 | 24360.9395 | 58908.3355 | 37170.724 | 15975.539 | 30799.1745
Category 1001 Capacity scaling | 11688.1395 | 19854.2297 | 58908.3355 | 35544.8315 | 15653.901 | 14399.615 | 12780.2195 | 22555.613 | 21322.2415 | 11688.1395 | 18386.218 | 14157.2915 | 24360.9395 | 58908.3355 | 37170.724 | 15975.539 | 30799.1745
Category 0101 Capacity scaling | 8864.7915 | 35143.076 | 90345.6395 | 57992.3315 | 18026.401 | 18049.615 | 12780.2195 | 32958.113 | 38477.2415 | 90345.6395 | 15283.718 | 8864.7915 | 15965.9395 | 51790.8355 | 41003.224 | 37328.039 | 47041.6745
Category 1101 Capacity scaling | 8864.7915 | 35143.076 | 90345.6395 | 57992.3315 | 18026.401 | 18049.615 | 12780.2195 | 32958.113 | 38477.2415 | 90345.6395 | 15283.718 | 8864.7915 | 15965.9395 | 51790.8355 | 41003.224 | 37328.039 | 47041.6745
Category 0011 Capacity scaling | 8864.7915 | 35143.076 | 90345.6395 | 57992.3315 | 18026.401 | 18049.615 | 31577.7195 | 32958.113 | 38477.2415 | 90345.6395 | 15283.718 | 8864.7915 | 15965.9395 | 51790.8355 | 41003.224 | 37328.039 | 47041.6745
Category 0111 Capacity scaling | 8864.7915 | 35143.076 | 90345.6395 | 57992.3315 | 18026.401 | 18049.615 | 31577.7195 | 32958.113 | 38477.2415 | 90345.6395 | 15283.718 | 8864.7915 | 15965.9395 | 51790.8355 | 41003.224 | 37328.039 | 47041.6745
Category 1111 Capacity scaling | 8864.7915 | 35143.076 | 90345.6395 | 57992.3315 | 18026.401 | 18049.615 | 31577.7195 | 32958.113 | 38477.2415 | 90345.6395 | 15283.718 | 8864.7915 | 15965.9395 | 51790.8355 | 41003.224 | 37328.039 | 47041.6745
Category 0002 Capacity scaling | 8864.7915 | 35143.076 | 90345.6395 | 57992.3315 | 18026.401 | 18049.615 | 31577.7195 | 32958.113 | 38477.2415 | 90345.6395 | 15283.718 | 8864.7915 | 15965.9395 | 51790.8355 | 41003.224 | 37328.039 | 47041.6745
Category 0000 Consumption charge 1 | 182.5 | 1095 | 3102.5 | 3102.5 | 912.5 | 1095 | 547.5 | 2372.5 | 1095 | 730 | 2190 | 182.5 | 1095 | 730 | 1460 | 2737.5 | 2555
Category 1000 Consumption charge 1 | 547.5 | 1095 | 2920 | 2920 | 912.5 | 912.5 | 547.5 | 2555 | 912.5 | 730 | 2372.5 | 547.5 | 1277.5 | 730 | 1642.5 | 2555 | 2920
Category 0100 Consumption charge 1 | 365 | 1186.25 | 3102.5 | 3102.5 | 912.5 | 1095 | 547.5 | 2372.5 | 1095 | 730 | 2372.5 | 365 | 1277.5 | 730 | 1460 | 2555 | 2920
Category 1100 Consumption charge 1 | 547.5 | 11588.75 | 20805 | 11680 | 5475 | 5657.5 | 547.5 | 16425 | 7117.5 | 730 | 14235 | 20805 | 17155 | 4197.5 | 11497.5 | 15330 | 13870
Category 0010 Consumption charge 1 | 182.5 | 1095 | 3102.5 | 3102.5 | 912.5 | 730 | 547.5 | 2372.5 | 912.5 | 547.5 | 2190 | 182.5 | 1277.5 | 547.5 | 1460 | 2372.5 | 2920
Category 0110 Consumption charge 1 | 547.5 | 2646.25 | 11315 | 11315 | 2737.5 | 2190 | 547.5 | 3650 | 2555 | 547.5 | 4380 | 1642.5 | 4197.5 | 1825 | 2555 | 4562.5 | 7300
Category 1110 Consumption charge 1 | 547.5 | 14600 | 22265 | 19892.5 | 7300 | 6752.5 | 547.5 | 17520 | 8942.5 | 547.5 | 16425 | 22265 | 20257.5 | 5292.5 | 12775 | 17155 | 18432.5
Category 0001 Consumption charge 1 | 182.5 | 1095 | 3102.5 | 3102.5 | 912.5 | 912.5 | 547.5 | 2190 | 912.5 | 547.5 | 2007.5 | 182.5 | 1277.5 | 547.5 | 1277.5 | 2737.5 | 2737.5
Category 1001 Consumption charge 1 | 547.5 | 11680 | 20987.5 | 11862.5 | 5475 | 5475 | 547.5 | 16607.5 | 7482.5 | 547.5 | 14782.5 | 20987.5 | 17885 | 4380 | 11497.5 | 15695 | 14052.5
Category 0101 Consumption charge 1 | 547.5 | 2737.5 | 11132.5 | 11132.5 | 2737.5 | 2190 | 547.5 | 3650 | 2555 | 547.5 | 4562.5 | 1825 | 4380 | 1825 | 2737.5 | 4380 | 7482.5
Category 1101 Consumption charge 1 | 547.5 | 14873.75 | 22447.5 | 19892.5 | 7300 | 6752.5 | 547.5 | 18067.5 | 8942.5 | 547.5 | 16972.5 | 22447.5 | 20805 | 5292.5 | 12775 | 17337.5 | 18797.5
Category 0011 Consumption charge 1 | 1825 | 8577.5 | 15877.5 | 15877.5 | 10767.5 | 8760 | 12410 | 14782.5 | 5292.5 | 6752.5 | 14417.5 | 5840 | 13505 | 1825 | 6205 | 8395 | 6752.5
Category 0111 Consumption charge 1 | 2920 | 10767.5 | 23907.5 | 23907.5 | 12592.5 | 10037.5 | 12410 | 16060 | 6935 | 6752.5 | 16790 | 7117.5 | 16607.5 | 2920 | 7482.5 | 10220 | 11315
Category 1111 Consumption charge 1 | 6570 | 20166.25 | 33397.5 | 32667.5 | 17155 | 14782.5 | 12410 | 30295 | 13140 | 6752.5 | 29382.5 | 27922.5 | 33397.5 | 6570 | 17520 | 23360 | 22812.5
Category 0002 Consumption charge 1 | 365 | 1095 | 2920 | 2920 | 912.5 | 912.5 | 547.5 | 2372.5 | 1095 | 547.5 | 2190 | 365 | 1095 | 730 | 1460 | 2372.5 | 2737.5
Category 0000 Consumption scaling | 23542.5 | 38233.75 | 64422.5 | 41975 | 23725 | 24637.5 | 47815 | 64422.5 | 25915 | 60407.5 | 41975 | 28835 | 29747.5 | 34492.5 | 48910 | 42157.5 | 23542.5
Category 1000 Consumption scaling | 23907.5 | 42066.25 | 64422.5 | 42157.5 | 23907.5 | 24820 | 47815 | 64422.5 | 26097.5 | 60407.5 | 41975 | 28652.5 | 29747.5 | 44347.5 | 49092.5 | 42340 | 35952.5
Category 0100 Consumption scaling | 23907.5 | 42157.5 | 64787.5 | 42157.5 | 23907.5 | 24820 | 47815 | 64787.5 | 26097.5 | 60407.5 | 42157.5 | 29200 | 29930 | 44347.5 | 49275 | 42340 | 35952.5
Category 1100 Consumption scaling | 47815 | 71540 | 153482.5 | 66977.5 | 51100 | 55480 | 47815 | 153482.5 | 71175 | 60407.5 | 68620 | 97820 | 84132.5 | 94535 | 131400 | 96360 | 71905
Category 0010 Consumption scaling | 24090 | 42248.75 | 64787.5 | 42157.5 | 24090 | 25002.5 | 47997.5 | 64787.5 | 26280 | 61502.5 | 42340 | 29382.5 | 29930 | 44530 | 49457.5 | 42705 | 35952.5
Category 0110 Consumption scaling | 33397.5 | 49275 | 72270 | 65152.5 | 34857.5 | 33397.5 | 47997.5 | 72270 | 38507.5 | 61502.5 | 47085 | 33762.5 | 40332.5 | 59495 | 60407.5 | 50735 | 50552.5
Category 1110 Consumption scaling | 47997.5 | 88421.25 | 161695 | 90155 | 62050 | 64240 | 47997.5 | 161695 | 83767.5 | 61502.5 | 73547.5 | 102565 | 94717.5 | 109682.5 | 143262.5 | 105667.5 | 86687.5
Category 0001 Consumption scaling | 22630 | 39328.75 | 65152.5 | 42340 | 24090 | 25002.5 | 22630 | 65152.5 | 26280 | 61867.5 | 43435 | 29565 | 30477.5 | 44712.5 | 49640 | 42705 | 36317.5
Category 1001 Consumption scaling | 22630 | 72452.5 | 155125 | 67525 | 51465 | 56027.5 | 22630 | 155125 | 71905 | 61867.5 | 71175 | 98915 | 87600 | 95995 | 133225 | 98002.5 | 73000
Category 0101 Consumption scaling | 22630 | 49731.25 | 72452.5 | 65517.5 | 34857.5 | 33580 | 22630 | 72452.5 | 38690 | 61867.5 | 48362.5 | 33945 | 41427.5 | 60042.5 | 60590 | 51100 | 51100
Category 1101 Consumption scaling | 22630 | 89333.75 | 162425 | 90702.5 | 62232.5 | 64605 | 22630 | 162425 | 84315 | 61867.5 | 76285 | 103295 | 98550 | 111507.5 | 144175 | 106397.5 | 87965
Category 0011 Consumption scaling | 47815 | 75737.5 | 143262.5 | 78840 | 82672.5 | 78657.5 | 126655 | 143262.5 | 56392.5 | 130305 | 70627.5 | 47815 | 72817.5 | 60772.5 | 88877.5 | 68072.5 | 49092.5
Category 0111 Consumption scaling | 52377.5 | 85501.25 | 150745 | 102017.5 | 93622.5 | 87235 | 126655 | 150745 | 68620 | 130305 | 75555 | 52377.5 | 83767.5 | 76285 | 99827.5 | 76285 | 64057.5
Category 1111 Consumption scaling | 100740 | 126928.75 | 240717.5 | 127202.5 | 120997.5 | 118260 | 126655 | 240717.5 | 114427.5 | 130305 | 103477.5 | 121727.5 | 140707.5 | 127567.5 | 183412.5 | 131582.5 | 100740
Category 0002 Consumption scaling | 23907.5 | 42705 | 64970 | 42522.5 | 23907.5 | 25002.5 | 48180 | 64970 | 26280 | 61867.5 | 43435 | 29565 | 30660 | 44530 | 49640 | 42887.5 | 36317.5
Category 0000 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 1000 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 0100 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 1100 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 0010 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 0110 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 1110 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 0001 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 1001 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 0101 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 1101 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 0011 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 0111 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 1111 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 0002 Check |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0