## Sheet1
10. EDCM export capacity charges in February 2014 charging statements
Export capacity rate (p/kVA/day)
ENWL | 0.11
NPG Northeast | 0.09
NPG Yorkshire | 0.13
SPEN SPD | 0.34
SPEN SPM | 0.67
SSEPD SEPD | 0.07
SSEPD SHEPD | 0.18
UKPN EPN | 0.09
UKPN LPN | 0.05
UKPN SPN | 0.05
WPD EastM | 0.15
WPD SWales | 0.07
WPD SWest | 0.06
WPD WestM | 0.09
11. How much of the generation revenue is lost to EDCM export capacity charges?
This assumes that the income of a 50 MW generation project is £13,000,000/year.
This is consistent with either £45/MWh and 67% load factor or £90/MWh and 33% load factor.
| Illustrative charge for 50 MW generation project (£/year) | Export capacity charge as a proportion of estimated income from generation
ENWL | 20075 | 0.1544%
NPG Northeast | 16425 | 0.1263%
NPG Yorkshire | 23725 | 0.1825%
SPEN SPD | 62050 | 0.4773%
SPEN SPM | 122275 | 0.9406%
SSEPD SEPD | 12775 | 0.09827%
SSEPD SHEPD | 32850 | 0.2527%
UKPN EPN | 16425 | 0.1263%
UKPN LPN | 9125 | 0.07019%
UKPN SPN | 9125 | 0.07019%
WPD EastM | 27375 | 0.2106%
WPD SWales | 12775 | 0.09827%
WPD SWest | 10950 | 0.08423%
WPD WestM | 16425 | 0.1263%
12. EDCM sole use asset charging rate (data from 2013 MIG work)
Sole use asset charging rate (approximate, based on 2013 data)
ENWL | 0.8%
NPG Northeast | 0.6%
NPG Yorkshire | 0.7%
SPEN SPD | 1.5%
SPEN SPM | 0.9%
SSEPD SEPD | 1%
SSEPD SHEPD | 2.5%
UKPN EPN | 0.8%
UKPN LPN | 0.5%
UKPN SPN | 0.7%
WPD EastM | 0.8%
WPD SWales | 1.2%
WPD SWest | 1%
WPD WestM | 0.8%
13. How big would a sole use asset need to be to cost as much as the EDCM export capacity charge for a 50 MW generation project?
Sole use asset MEAV equivalent to 50 MW export capacity charge
ENWL | 2509375
NPG Northeast | 2737500
NPG Yorkshire | 3389285.7143
SPEN SPD | 4136666.6667
SPEN SPM | 13586111.1111
SSEPD SEPD | 1277500
SSEPD SHEPD | 1314000
UKPN EPN | 2053125
UKPN LPN | 1825000
UKPN SPN | 1303571.4286
WPD EastM | 3421875
WPD SWales | 1064583.3333
WPD SWest | 1095000
WPD WestM | 2053125
14. National Grid triad benefit
| National Grid zone name | National Grid demand tariff (£/kW/year)
ENWL | North West | 29.6401
NPG Northeast | Northern | 26.9382
NPG Yorkshire | Yorkshire | 30.2486
SPEN SPD | Southern Scotland | 21.2366
SPEN SPM | N Wales & Mersey | 29.716
SSEPD SEPD | Southern | 38.7864
SSEPD SHEPD | Northern Scotland | 16.1683
UKPN EPN | Eastern | 34.627
UKPN LPN | London | 38.5478
UKPN SPN | South East | 37.659
WPD EastM | East Midlands | 33.0996
WPD SWales | South Wales | 32.3171
WPD SWest | South Western | 38.6995
WPD WestM | Midlands | 33.7826
15. How much of the triad benefit is lost to EDCM export capacity charges?
These calculations use a 50 MW generator with generation at the time of triad of 16,667 kW (33% of capacity).
| Full triad benefit (£/year) | Triad benefit minus EDCM export capacity charge (£/year) | EDCM export capacity charge (£/year)
ENWL | 494012.3467 | 473937.3467 | 20075
NPG Northeast | 448978.5961 | 432553.5961 | 16425
NPG Yorkshire | 504153.5662 | 480428.5662 | 23725
SPEN SPD | 353950.2789 | 291900.2789 | 62050
SPEN SPM | 495276.3553 | 373001.3553 | 122275
SSEPD SEPD | 646453.6121 | 633678.6121 | 12775
SSEPD SHEPD | 269477.3228 | 236627.3228 | 32850
UKPN EPN | 577127.659 | 560702.659 | 16425
UKPN LPN | 642476.9826 | 633351.9826 | 9125
UKPN SPN | 627663.1697 | 618538.1697 | 9125
WPD EastM | 551670.9332 | 524295.9332 | 27375
WPD SWales | 538629.8557 | 525854.8557 | 12775
WPD SWest | 645004.8665 | 634054.8665 | 10950
WPD WestM | 563053.9109 | 546628.9109 | 16425
16. How do EDCM capacity charges affect the ranking of GSP group for network costs/credits for renewable generation?
| Ranking based on full triad benefit | Ranking based on triad benefit minus EDCM export capacity charge | Change in ranking
ENWL | 11 | 10 | -1
NPG Northeast | 12 | 11 | -1
NPG Yorkshire | 9 | 9 | 0
SPEN SPD | 13 | 13 | 0
SPEN SPM | 10 | 12 | 2
SSEPD SEPD | 1 | 2 | 1
SSEPD SHEPD | 14 | 14 | 0
UKPN EPN | 5 | 5 | 0
UKPN LPN | 3 | 3 | 0
UKPN SPN | 4 | 4 | 0
WPD EastM | 7 | 8 | 1
WPD SWales | 8 | 7 | -1
WPD SWest | 2 | 1 | -1
WPD WestM | 6 | 6 | 0
17. Franck's conclusions
EDCM export capacity charges do not matter much.
EDCM export capacity charges are abnormally high in the SPM area. I don't know why.
The large and unexplained fluctuations between GSP Groups suggests a risk that EDCM export capacity charges are random and might fluctuate in the future.
EDCM export capacity charges do not appear to serve any useful purpose.
The existence of EDCM export capacity charges creates administrative costs and their apparent randomness creates risks which deter investment in larger distributed generation projects.
I cannot see any good reason against setting EDCM export capacity charges to zero.